Reg.No. ____________

End Semester Examination – Nov/Dec – 2018

| Code : | 14EI2013 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INDUSTRIAL DATA COMMUNICATION NETWORKS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Describe in detail with necessary diagrams, how UART functions as a transmitter and receiver? | CO1 | 10 |
|  | b. | Elaborate on the different methods of data coding. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Name some standardization organizations that will recognize new industrial standards. | CO1 | 5 |
|  | b. | For the digital data 11110000 represent the signal pattern using different line coding methods. | CO1 | 15 |
| 3. | a. | Draw the signaling details of RS232. | CO1 | 5 |
|  | b. | RS 485 is preferred in Industries for multipoint interface. Justify your answer. Compare the features of RS232 and RS485. | CO2 | 15 |
| (OR) |  |  |  |  |
| 4. | a. | Explain in detail the signals and pins General Purpose Interface bus (GPIB). | CO2 | 15 |
|  | b. | Discuss about the Live Zero and Dead Zero problem in process industries and hence justify the need of 4 to 20mA current loop standard. | CO2 | 5 |
| 5. |  | Describe about the different frame formats for HDLC and also compare SDLC with HDLC. | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | List the different types of Channel Access methods. | CO2 | 5 |
|  | b. | Elaborate on the reserved and controlled access methods. | CO2 | 15 |
| 7. | a. | What are the different modes in Fieldbus communication? | CO3 | 5 |
|  | b. | Discuss in detail about the modbus protocol. | CO3 | 15 |
| (OR) |  |  |  |  |
| 8. | a. | Draw the response frame of MODBUS protocol for reading the status of the coil with address 0002 and content AF0B. | CO3 | 4 |
|  | b. | Discuss in detail about the IEEE802.3 LAN standard. | CO3 | 16 |
|  |  | Compulsory: |  |  |
| 9. |  | Elaborate on the HART protocols used in industrial communication. | CO3 | 20 |