Reg.No. ____________

End Semester Examination – Nov/Dec– 2018

| Code : | 14EI2021 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INSTRUMENTATION AND CONTROL IN PAPER INDUSTRIES | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Indicate the raw materials for paper industry. | CO1 | 4 |
|  | b. | Explain the pulping process. | CO1 | 6 |
|  | c. | Illustrate the paper making process. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Outline the chemical recovery process in paper industry. | CO1 | 10 |
|  | b. | Summarize the converting process in paper industry. | CO1 | 10 |
| 3. | a. | Explain the concepts of measurements of basic weight density. | CO1 | 10 |
|  | b. | Illustrate the measurements of basic specific gravity. | CO1 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Identify the need for measurements of basic flow. | CO1 | 8 |
|  | b. | Compare the measurement level of liquids and solids. | CO1 | 12 |
| 5. | a. | Outline the measurement of pressure, temperature and Moisture in paper industries. | CO2 | 15 |
|  | b. | Identify the need for the measurement of pH. | CO2 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | Recall the oxidation process. | CO2 | 4 |
|  | b. | Illustrate the working of graphic displays. | CO2 | 10 |
|  | c. | List the advantages and disadvantages of alarms. | CO2 | 6 |
| 7. | a. | Explain the operation of digester liquor feed pump controls. | CO3 | 10 |
|  | b. | Illustrate the working of brown stock water level control. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Interpret the concepts of dry temperature control. | CO3 | 10 |
|  | b. | Summarize the operation of white liquor flow control. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Outline the computer applications in pulping process control. | CO3 | 10 |
|  | b. | Compare the Liquid level control and Input stock control. | CO3 | 10 |