Reg.No. ____________

End Semester Examination – Nov/Dec – 2018

| Code : | 15EI2028 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | BIOMEDICAL OPTICS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Differentiate photonics and optics. | CO1 | 2 |
|  | b. | List the criteria for total internal reflection. | CO1 | 3 |
|  | c. | The light travels at a speed of 4.2 x 108m/sec in human tissues. Calculate the refractive index. | CO1 | 3 |
|  | d. | Mention the common light sources used in Bio-optics and elaborate on the construction and working of edge emiting and surface emiting LED. | CO1 | 12 |
| (OR) |  |  |  |  |
| 2. | a. | Calculate the wavelength of light emited by InGa diode whose energy band gap is 1.2eV. | CO2 | 4 |
|  | b. | Explain how scattering processes are important in both diagnostic and therapeutic applications in bio-optics. | CO1 | 6 |
|  | c. | Explain in detail about the interaction of tissue with light. | CO1 | 10 |
| 3. | a. | Compare and contrast the features of Step index and graded index fiber. | CO1 | 4 |
|  | b. | What are chromophorers and list few chromophores of human body. | CO1 | 4 |
|  | c. | Describe in detail the construction and working of Avalanche Photodiode and suggest the criteria for selecting good photo detectors. | CO2 | 12 |
| (OR) |  |  |  |  |
| 4. | a. | Discuss the photo physical processes that affect light propagation in biological tissue. | CO2 | 10 |
|  | b. | Compare solid LASERs and liquid LASERs and explain in detail about a liquid dye LASER. | CO2 | 10 |
| 5. | a. | Elaborate on the importance of Spectrometer and explain its functional block diagram. | CO2 | 10 |
|  | b. | Comment on the importance of instrumentation for elastic scattering and inelastic scattering in Spectroscopy. | CO2 | 6 |
|  | c. | Give the schematic representation of bifurcated and parallel dual fiber system. | CO3 | 4 |
| (OR) |  |  |  |  |
| 6. | a. | Explain the therapeutic window in detail. | CO3 | 10 |
|  | b. | Comprehend on the applications of Laser for tissue bonding, blood coagulation and mechanical rupture of tissue. | CO2 | 10 |
| 7. | a. | Elaborate on the applications of LASER in the field of Gynaecology | CO3 | 12 |
|  | b. | The first application of LASER was in the field of Opthalmology. Justify your statement with few examples. | CO3 | 8 |
| (OR) |  |  |  |  |
| 8. | a. | List few applications of holography in medicine. | CO3 | 5 |
|  | b. | Discuss the principle of construction and reconstruction of optical hologram. | CO3 | 15 |
|  |  | Compulsory: |  |  |
| 9. | a. | Mention the importance of Photodynamic Therapy(PDT) and compare it with chemotherapy. | CO3 | 5 |
|  | b. | Elaborate on the clinical PDT method. | CO3 | 15 |