Reg.No. ____________

End Semester Examination – Nov/Dec – 2018

| Code : | 15EI2036 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | RADIATION AND NUCLEAR MEDICINE | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Discuss on the different types of modern x-ray tubes and its application. | CO1 | 12 |
|  | b. | Mention the outcomes when a x-ray impinges on a material. | CO1 | 3 |
|  | c. | Distinguish between Soft X-rays and Hard X-rays. | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | Explain the construction and working of the X-ray tube with a neat diagram. | CO1 | 12 |
|  | b. | Describe the Characteristic spectrum in the production of X-Rays. | CO1 | 8 |
| 3. | a. | List the limitations of conventional radiography and explain how it can be overcome by digital radiography. | CO1 | 12 |
|  | b. | If the diameter of the input phosphor is 10 inches and diameter of output phosphor is 2 inches, and the light photons emitted by the image intensifier is 600,000 when it is struck by 300 x-ray photons. Determine the minification gain, flux gain and brightness gain. | CO1 | 8 |
| (OR) |  |  |  |  |
| 4. | a. | Explain how brightness is increased in the x-ray image using Image intensifier with necessary diagrams. | CO1 | 12 |
|  | b. | Assess the role of grids in a x-ray machine. | CO1 | 8 |
| 5. | a. | Discuss on Positron Emission Tomography. | CO2 | 10 |
|  | b. | Describe how ionization radiation is measured using Geiger counter. | CO2 | 8 |
|  | c. | Interpret the term “ Radioactive Decay”. | CO2 | 2 |
| (OR) |  |  |  |  |
| 6. | a. | Demonstrate the working principle and the system components of a CT scanner. | CO2 | 12 |
|  | b. | Elaborate the methodologies involved in treatment planning and dosage in radiotherapy. | CO3 | 8 |
| 7. | a. | Explain how mega voltage x-rays are produced using linear accelerators for the treatment of cancer. | CO2 | 10 |
|  | b. | Illustrate the direct and indirect effects of radiation with necessary diagrams. | CO3 | 10 |
| (OR) |  |  |  |  |
| 8. | a. | Analyse how ionizing radiation are detected by Semiconductor detector . | CO2 | 10 |
|  | b. | Discuss on the role of collimators and types of collimators in Gamma Camera. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Examine the types of personal dosimeter that is used to protect the wearer from harmful effects of radiation. | CO3 | 10 |
|  | b. | Discuss on the hazards from ingested radioactivity. | CO3 | 10 |