Reg.No. ____________

End Semester Examination – Nov/Dec – 2018

| Code : | 17BT2007 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INSTRUMENTAL METHODS OF ANALYSIS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Name the different types of analysis. | CO1 | 4 |
|  | b. | Define accuracy. | CO1 | 4 |
|  | c. | Explain the concept of relative concentration error and its application in real analysis. | CO6 | 12 |
| (OR) |  |  |  |  |
| 2. | a. | Explain briefly the solvent extraction methods and application. | CO1 | 10 |
|  | b. | Describe the working principle, apparatus and applications of soxhlet solid extraction technique. | CO1 | 10 |
| 3. | a. | Derive Beer – Lamberts’s Law from the fundamental considerations. | CO2 | 6 |
|  | b. | Illustrate the principle, apparatus system of UV spectrophotometer with biological application. | CO2 | 14 |
| (OR) |  |  |  |  |
| 4. | a. | With the help of neat labelled diagram outline the principle, procedure of Raman spectroscopy. | CO2 | 15 |
|  | b. | Why is a photomultiplier tube is not used as a detector at infrared wavelengths. | CO2 | 5 |
| 5. | a. | Explain in detail the principle, working procedure of Ion exchange chromatography with necessary diagram. | CO3 | 10 |
|  | b. | Briefly explain the applications of adsorption chromatography. | CO3 | 4 |
|  | c. | What key properties must an analyte have in order to be quantitated using gas chromatography? | CO3 | 6 |
| (OR) |  |  |  |  |
| 6. | a. | Define electrophoresis. | CO4 | 3 |
|  | b. | Give a detailed account on the principle procedure and important applications of SDS-PAGE. | CO4 | 17 |
| 7. | a. | What do you understand by differential thermal analysis? How is TGA used in the following measurements? | CO5 | 5 |
|  | b. | Elaborate the principle and working protocol of DTA in determination of thermal properties of a given product. | CO5 | 15 |
| (OR) |  |  |  |  |
| 8. | a. | Discuss in detail the absorption of X-rays. | CO6 | 4 |
|  | b. | What is the scintillation and G-M counter? Explain the types and their significance. | CO6 | 10 |
|  | c. | Describe the principle of NMR spectroscopy. | CO6 | 6 |
|  |  | Compulsory: |  |  |
| 9. | a. | Outline the characteristic features of high pressure liquid chromatography as analytical tool. | CO3 | 16 |
|  | b. | Give a schematic diagram of HPLC and GC-MS. | CO3 | 4 |