Reg.No. ____________

End Semester Examination – Nov/Dec– 2018

| Code : | 17CE3020 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name: | DESIGN OF STEEL CONCRETE COMPOSITE STRUCTURES | Max. marks: | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Recall the advantages of steel concrete composite construction. | CO3 | 12 |
|  | b. | Explain the principle of composite action. | CO3 | 8 |
| (OR) |  |  |  |  |
| 2. | a. | Reproduce the service ability condition for construction. | CO1 | 8 |
|  | b. | Summarize the design criteria for the provisions specified in IS, BS and Euro codes. | CO5 | 12 |
| 3. |  | Design an unpropped 4.5 m span composite beam to the following data. Imposed load: Imposed load 2.5 kN/m2 Floor dimensions: Span L = 4.5 m Beam spacing b = 1.5 m Slab depth ht = 130 mm Depth above profile hc = 80 mm Deck profiled height hp = 50 mm Un propped construction throughout. | CO4 | 20 |
| (OR) |  |  |  |  |
| 4. | a. | Explain the design procedure of construction of composite slab. | CO2 | 10 |
|  | b. | Describe about profiled sheeting and stiffeners. | CO2 | 10 |
| 5. |  | Explain the principle and mechanism of load resistance, advantages of construction and advantages of composite column. | CO4 | 3+6+6+5 |
| (OR) |  |  |  |  |
| 6. | a. | Write the step by step procedure to design a composite truss. | CO4 | 10 |
|  | b. | Recall the Advantages of Composite Truss Construction. | CO4 | 10 |
| 7. |  | Reproduce the three types of shear connectors with neat sketch. | CO1 | 7+7+6 |
| (OR) |  |  |  |  |
| 8. |  | Explain the shear strength of shear connectors as per I.R.C.22 and I.S.11384. | CO6 | 10+10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Discuss a case study on steel - concrete composite construction in buildings. | CO3 | 16 |
|  | b. | List the Lateral Load Resisting Systems. | CO3 | 4 |