Reg.No. ____________

End Semester Examination – Nov/Dec – 2018

| Code : | 18EE3009 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | SOLAR THERMAL ENERGY CONVERSION | Max. marks : | 100 |

ANSWER ANY FIVE  QUESTIONS  (5 x 16 = 80 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Calculate the reflectance of one surface at normal incidence and at 60o. The average index of refraction of glass for solar 1.526. | CO1 | 6 |
|  | b. | Estimate the solar altitude and azimuth angles at solar noon in Gainesville, FL on August 16. Also find the sunrise and sunset times in Gainesville on that day. Latitude L = 29.68o N ; Longitude = 82.27o W. | CO1 | 10 |
| 2. | a. | With necessary diagrams, explain the construction and working of Heliostat field collector. | CO2 | 10 |
|  | b. | Classify the different types of solar collectors. | CO2 | 6 |
| 3. |  | Illustrate with an example, the step by step procedure to create a solar thermal system project and simulate the same in TRNSYS Simulation studio. | CO3 | 16 |
| 4. |  | With necessary diagrams, describe how thermal energy can be stored in water storage and packed bed storage system. | CO3 | 16 |
| 5. |  | With a neat schematic block diagram, explain the operation of solar operated absorption air conditioner. | CO4 | 16 |
| 6. |  | Elaborate the concept of pyrheliometer instrument used to measure solar radiation and explain them in detail with a neat sketch. | CO4 | 16 |
| 7. | a. | Compute an expression of energy balance for a flat plate collector and collector heat loss conductance with an equivalent circuit. | CO5 | 8 |
|  | b. | Explain the operation of f-chart standard air-system configuration with a neat sketch. | CO5 | 8 |
| COMPULSORY QUESTION (1 x 20 = 20 Marks) |  |  |  |  |
| 8. | a. | With a neat sketch, explain the operation of Gila Bend solar pumping system. | CO6 | 10 |
|  | b. | Write short notes on Solar Pond. | CO6 | 10 |

Question No 1,2,3,4,5 from module 1,2,3,4,5  respectively.

Q.No 6,7   from any of the 5 modules(1-5).