Reg.No. _____________

End Semester Examination – Nov/Dec – 2018

| Code : | 10EI209/ 12EI218/ EI256 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INDUSTRIAL INSTRUMENTATION | Max. marks : | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | List any two units of Pressure. | 1 |
| 2. | State the need of Dead Weight Tester. | 1 |
| 3. | Mention any two types of positive displacement flow meters. | 1 |
| 4. | Classify the types of flow meters. | 1 |
| 5. | Name a device which is used to measure very high temperatures. | 1 |
| 6. | State Seebeck Effect. | 1 |
| 7. | List out the basic techniques for measuring level. | 1 |
| 8. | Give any two advantages of Float level Devices. | 1 |
| 9. | Name the unit of Density. | 1 |
| 10. | Give any two applications of Viscometers. | 1 |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11. | Suggest an instrument to forecast weather and explain its working. | 3 |
| 12. | Draw and label the parts of Target Flow meter and give any two applications. | 3 |
| 13. | Write short notes on Bimetallic Thermometer. | 3 |
| 14. | Discuss how solid level is measured in a tank. | 3 |
| 15. | Ànalyse the Newtonian and Non-Newtonian behavior in fluids. | 3 |

| PART C(5 X 15= 75 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 16. |  | Give explanation about the construction and working of electrical methods of pressure measurement. | 15 |
| (OR) |  |  |  |
| 17. |  | With necessary diagrams, explain the construction and working of thermal conductivity gauges. | 15 |
| 18. |  | Elaborate on the principle of operation and working of Ultrasonic Flow Meter. | 15 |
| (OR) |  |  |  |
| 19. |  | Describe with neat sketch, the construction and working of Electromagnetic Flow meter. | 15 |
| 20. |  | Explain the working principle, construction of an optical pyrometer with the help of a neat sketch. | 15 |
| (OR) |  |  |  |
| 21. |  | Illustrate the working of Filled systems thermometers and give any two advantages and disadvantages. | 15 |
| 22. |  | Demonstrate the construction and working of Radiation Level Detector. | 15 |
| (OR) |  |  |  |
| 23. |  | Elaborate the principle and working of Ultrasonic Level Detector. | 15 |
| 24. |  | With necessary diagrams, describe the working of Laboratory Viscometers. | 15 |
| (OR) |  |  |  |
| 25. |  | Discuss about the working of gas density measurement. | 15 |