Reg. No. ________

End Semester Examination – Nov/Dec – 2018

Code	     :	10EI206/12EI216/EI235/EI258							     Duration : 3 hrs

Sub. Name :	SIGNAL CONDITIONING CIRCUITS	                            Max.  Marks: 100

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | Write the ideal characteristics of an operational amplifier. | 1 |
| 2. | What is meant by ‘slew rate’? | 1 |
| 3. | Draw the block diagram of sample and hold circuit. | 1 |
| 4. | Mention any two applications of operational amplifier. | 1 |
| 5. | List any one important feature of Instrumentation amplifier. | 1 |
| 6. | What is a filter? | 1 |
| 7. | State the use of a voltage regulator. | 1 |
| 8. | What is frequency doubling? | 1 |
| 9. | List the applications of 555 timer. | 1 |
| 10. | What are the basic building blocks of Phase Locked Loop? | 1 |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11. | Differentiate between ‘bias’ and ‘offset’. | 3 |
| 12. | Draw the circuit of a Differentiator. | 3 |
| 13. | Draw the characteristics of Low pass filter. | 3 |
| 14. | What is meant by Precision Reference Regulator? | 3 |
| 15. | Define ‘lock-in range’ | 3 |

|  | PART C(5 X 15= 75 MARKS) |  |  |
| --- | --- | --- | --- |
| 16. |  | Draw the basic block diagram of an op- amp and explain the operation of each block in detail. | 15 |
|  |  | (OR) |  |
| 17. |  | Explain the DC characteristics of an operational amplifier. | 15 |
| 18. |  | Draw the circuit of an integrator using op-amp and explain its working. | 15 |
|  |  | (OR) |  |
| 19. |  | How voltage is converted to current? | 15 |
| 20. |  | Explain the operation of state variable filter. | 15 |
|  |  | (OR) |  |
| 21. |  | Elaborate on the need for signal conditioning circuits for Strain Gauges. | 15 |
| 22. |  | Compare the features of series and shunt voltage regulator | 15 |
|  |  | (OR) |  |
| 23. |  | With a neat sketch explain any one type of multipliers. | 15 |
| 24. |  | Enumerate the working of Voltage Controlled Oscillator. | 15 |
| (OR) |  |  |  |
| 25. |  | Draw the basic block diagram of PLL and explain. | 8 |