Reg.No. _____________

End Semester Examination – Nov/Dec - 2018

| Code : | 12EI239 | Duration : | 3 hrs |
| --- | --- | --- | --- |
| Sub. Name : | ULTRASONIC INSTRUMENTATION | Max. marks : | 100 |

| Q. No. | Questions | Marks |
| --- | --- | --- |
| PART-A(10X1=10 MARKS) |  |  |
| 1. | Define Attenuation. | 1 |
| 2. | Acoustic Intensity is expressed as ___________. | 1 |
| 3. | Name any two techniques used to measure the wavelength of ultrasonic waves using Electrical Method. | 1 |
| 4. | What is piezoelectric effect? | 1 |
| 5. | Ultrasonic temperature sensor is widely used in _______________ industry for very high temperature measurements. | 1 |
| 6. | List the different methods of Pressure measurements. | 1 |
| 7. | What are the different types of welds? | 1 |
| 8. | Name the two methods used for thickness measurement. | 1 |
| 9. | List out any two application of ultrasonics in medical field. | 1 |
| 10. | Time position scan is also called as ___________. | 1 |

| PART B(5 X 3= 15 MARKS) |  |  |
| --- | --- | --- |
| 11. | Define the reflection and transmission coefficients. | 3 |
| 12. | Describe the mechanical method in the detection of ultrasonic waves. | 3 |
| 13. | Write short notes on the experimental technique used for the measurement of density of liquid mixtures. | 3 |
| 14. | Discuss the steps involved in ultrasonic inspection of welds. | 3 |
| 15. | Draw and explain the A-scan in medical imaging. | 3 |

| PART C(5 X 15= 75 MARKS) |  |  |  |
| --- | --- | --- | --- |
| 16. |  | Explain the characteristic properties of ultrasonic waves and the loses caused due to attenuation. | 15 |
| (OR) |  |  |  |
| 17. |  | Discuss in detail the different modes of Sound Wave Propagation. | 15 |
| 18. |  | Explain the electrical and optical method for detecting ultrasonic waves. | 15 |
| (OR) |  |  |  |
| 19. |  | Explain the principle, construction and working of a Piezoelectric Oscillator. | 15 |
| 20. |  | Explain in detail about the ultrasonic density and viscosity measurement. | 15 |
| (OR) |  |  |  |
| 21. |  | Describe the following testing methods in detail a. Pulse echo b. Contact testing c. Immersion type | 15 |
| 22. |  | Explain the working of different types of SONAR with a neat diagram. | 15 |
| (OR) |  |  |  |
| 23. |  | Discuss the inspection of welds and defect detection in welds. | 15 |
| 24. |  | Explain the following types of Holography in detail: a. Transmission acoustic holography. b. Pulse reflection acoustic holography. c. Linear acoustic holography. | 15 |
| (OR) |  |  |  |
| 25. |  | Enumerate the ultrasonic applications in medical theraphy. | 15 |