Reg.No. ____________

End Semester Examination – Nov/Dec – 2017

| Code : | 14BT2053 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | INDUSTRIAL EFFLUENT TREATMENT | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions |  | Course Outcome | Marks |
| --- | --- | --- | --- | --- | --- |
| 1 | a. | Distinguish the waster and Effluent. |  | CO1 | 5 |
|  | b. | i. List out causes on human health. |  | CO1 | 10 |
|  |  | ii. List the biological and chemical characteristics of waste water |  | CO1 | 5 |
| (OR) |  |  |  |  |  |
| 2. | a. | Discuss industrial effluent and municipal waste and their effect on environment. |  | CO1 | 5 |
|  | b. | Explain the heavy metal waste water treatment by adsorption process and give its merits and demerits. |  | CO2 | 10 |
|  | c. | Write down the non metallic constituents in the industrial effluents. |  | CO2 | 5 |
| 3 | a. | State the importance of screening and screening devices available for waste water treatment. |  | CO1 | 10 |
|  | b. | Comment the filtration techniques in waste water treatment |  | CO1 | 10 |
| (OR) |  |  |  |  |  |
| 4. | a. | Explain the estimation of thickener area by batch sedimentation. |  | CO2 | 10 |
|  | b. | Differentiate between sedimentation and filtration. |  | CO1 | 10 |
| 5 | a. | Illustrate about batch filtration with neat sketch. |  | CO2 | 10 |
|  | b. | Explain the working procedure of continuous rotary drum filtration. |  | CO1 | 10 |
| (OR) |  |  |  |  |  |
| 6 | a. | Narrate the centrifugal filtration working procedure with neat diagram, Give its merits and demerits. |  | CO3 | 14 |
|  | b. | Write short notes on: filter aids, Medium resistance and cake resistance. |  | CO1 | 6 |
| 7 | a. | Discuss about the phosphorous removal by precipitation methods. |  | CO2 | 10 |
|  | b. | Write short notes on: i. Chemical coagulation ii. Flocculation iii. Grit removal. |  | CO3 | 10 |
| (OR) |  |  |  |  |  |
| 8. | a. |  | Explain about the biological process for waste water treatment. | CO2 | 10 |
|  | b. |  | Explain the activated sludge waste water treatment process. | CO3 | 10 |
|  |  |  | Compulsory: |  |  |
| 9 | a |  | Describe the kinetic growth of biological treatment process. | CO2 | 10 |
|  | b |  | Explain the trickling filter with neat sketch. | CO3 | 10 |

ALL THE BEST