Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2017

| Code : | 14CE2015 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | CONSTRUCTION TECHNOLOGY | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Summarize the functional requirement of a building. | CO1 | 10 |
|  | b. | Explain the principles of planning. | CO3 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Classify the buildings according to national building code of India. | CO3 | 10 |
|  | b. | Enumerate the general principles to be followed in site selection | CO2 | 10 |
| 3. | a. | Assess the causes for failure of Foundation. | CO3 | 10 |
|  | b. | Describe in detail about the procedure of setting out of the foundation trenches. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Generalise the principles adopted in Site selection. | CO2 | 5 |
|  | b. | Evaluate the methods adopted for determining and increasing bearing capacity of soil. | CO2 | 15 |
| 5. | a. | Demonstrate the construction sequence of stone masonry with neat sketches. | CO2 | 10 |
|  | b. | Recommend the types of brick masonry bonds adopted in various construction. | CO2 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Prepare a note on ventilation and lighting and its types. | CO2 | 10 |
|  | b. | Enumerate the step by step procedure of construction of precast structure. | CO2 | 10 |
| 7. | a. | Define termite proofing. Discuss the principles, types and methods adopted in Anti termite treatment. | CO3 | 15 |
|  | b. | Write a note on lifting appliances adopted in construction. | CO1 | 5 |
| (OR) |  |  |  |  |
| 8. | a. | Explain the term Shoring and Under pinning. Describe its types and methods with neat sketches. | CO3 | 15 |
|  | b. | Defend stone and lime as a construction material. | CO1 | 5 |
|  |  | Compulsory: |  |  |
| 9. | a. | Describe the types of following construction equipments in detail. i. earth compaction equipment ii. concreting equipment. | CO2 | 10 |
|  | b. | Analyse the safety problems, safety measures, safety procedures and safety control to be adopted in construction site. | CO3 | 10 |

ALL THE BEST