Reg.No. \_\_\_\_\_\_\_\_\_\_\_\_



**UNIVERSITY**

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

**End Semester Examination – Nov/Dec – 2017**

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **Code :** | **14CE3013** | **Duration :** | **3hrs** |
| **Sub. Name :** | **DESIGN OF STRUCTURES FOR DYNAMIC LOAD** | **Max. marks :** | **100** |

**ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Q. No. | Sub Div. | Questions | Course  Outcome | Marks |
| 1. | a. | Compare the behaviour of Concrete and masonry under cyclic load. | CO1 | 8 |
| b. | Explain the difference in the design of structures for blast, earthquake and wind loads. | CO1 | 12 |
| (OR) | | | | |
| 2. | a. | Enumerate the step by step procedure for push over analysis. | CO2 | 10 |
| b. | Mention the reasons for failure of dams. Brief the procedure to determine the lateral forces on dams. | CO1 | 10 |
|  |  |  |  |  |
| 3. |  | Explain how buried structures are designed to resist earthquakes. | CO1 | 20 |
| (OR) | | | | |
| 4. | a. | Enumerate the step by step procedure for push over analysis. | CO2 | 12 |
|  | b. | Briefly discuss progressive collapse method for design against blast | CO1 | 8 |
|  |  |  |  |  |
| 5. |  | A building of size 15 x 15 m in plan and 40m in height is located in Mumbai at a distance of 2000m from the sea face. Determine the distribution of Wind pressure along the height of the building. Assume suitable data. | CO2 | 20 |
| (OR) | | | | |
| 6. | a. | Differentiate aerodynamic and aeroelastic effect. | CO1 | 8 |
|  | b. | Briefly discuss on gust factor and design against cyclone. | CO2 | 12 |
|  |  |  |  |  |
| 7. |  | A 120 m tall RC cylindrical chimney of uniform cross section (A = 8 m2, I = 80 m4) has weight of 25 kN/m3 and E = 3.4X104N/mm2. Determine the base moment and shear under earthquake conditions. The structure is located in seismic zone IV and is supported on raft foundation. Take damping factor as 5% and importance factor as 2. | CO2 | 20 |
| (OR) | | | | |
| 8. |  | Compare the structural control methods with emphasis on application. Briefly discuss on Dampers. | CO3 | 20 |
|  | |  |  |  |
|  | | **Compulsory**: |  |  |
| 9. |  | Discuss in detail the methodology for System Identification for base isolation. | CO2 | 20 |

ALL THE BEST