Reg.No. ____________

End Semester Examination – Nov/Dec – 2017

| Code : | 14EE2018 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | ENERGY SYSTEMS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | With help of neat diagram, elucidate the working of stand alone solar PV system. | CO1 | 10 |
|  | b. | Discuss how to do the site selection while constructing the hydro power plant. | CO1 | 5 |
|  | c. | Compare Vertical Axis Wind Turbine (VAWT) and Horizontal Axis Wind Turbine (HAWT). | CO1 | 5 |
| (OR) |  |  |  |  |
| 2. | a. | With help of neat diagram, explicate the working of Single and Double basin system in tidal power. | CO1 | 10 |
|  | b. | With neat diagram, explain the working of central tower receiver power plant. | CO1 | 10 |
| 3. | a. | With neat diagram, explicate the dry and flash steam plants in geothermal energy and also discuss the harmful effects of geothermal energy. | CO1 | 20 |
| (OR) |  |  |  |  |
| 4. | a. | A domestic lighting installation having fifteen, 60 Watt lamps is operated as follows: 5 lamps from 6 p.m till 10 p.m 10 lamps from 10 p.m till 6 a.m 6 lamps from 6 a.m to 6 p.m Determine the connected load, the maximum demand, the demand factor and the daily load factor. | CO1 | 8 |
|  | b. | Discuss the effects of distribution generation on power system operation. | CO1 | 5 |
|  | c. | Discuss the term fixed cost and running cost in cost of electrical energy. | CO1 | 7 |
| 5. | a. | With neat tabular column, explain the detailed energy audit and give the importance of energy audit in the energy conservation practices. | CO1 | 15 |
|  | b. | Discuss the energy efficient lighting control methods. | CO1 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | An illumination on the working plane of 34 lux is required in a room 80m x 15m. The lamps are required to be hung 4.5m above the work bench. Assume a utilization factor of 0.5, lamp efficacy of 14 lumens per watt, and candle power depreciation of 0.2, estimate the number rating and disposition of the lamps. Assume a maximum permissible value of spacing to height ratio of 1.5 and lamp rating as 200W. | CO2 | 10 |
|  | b. | Discuss the function of photo emissive cell and describe its working when used along with a d.c. amplifier. | CO2 | 10 |
| 7. | a. | Classify the types of electric heating and also give the properties that you will look for the heating element. | CO2 | 5 |
|  | b. | A 20 kW single phase, 220 V resistance oven employees circular nichrome wire for its heating element. If the wire temperature is not to exceed 1127° C and the temperature of the charge is to be 427° C, calculate the size and length of wire required. Assume e=0.9 and radiation efficiency K=0.6. Determine the temperature of wire when the charge is cold. Assume ρ=1.09 x 10-6 Ω-m. | CO2 | 15 |
| (OR) |  |  |  |  |
| 8. | a. | With neat sketches, explain the construction and principle of operation of Ajax Wyatt furnace. | CO2 | 10 |
|  | b. | With help of heat diagrams, explain the different types of electric welding. | CO2 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | List down the requirements of ideal traction system. | CO2 | 5 |
|  | b. | Illustrate the DC series motor control and Speed control of 3- Phase Induction motor. | CO2 | 15 |

ALL THE BEST