Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2017

| Code : | 14EE2025 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | FUNDAMENTALS OF ELECTRICAL SAFETY | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. |  | Describe the Misconceptions in Hazardous areas. | CO3 | 20 |
| (OR) |  |  |  |  |
| 2. | a. | Explain about central commission. | CO3 | 10 |
|  | b. | Mention the importance and duties of Electricity Board. | CO3 | 10 |
| 3. |  | Explain the EMI/EMC hazards with neat diagram. | CO3 | 20 |
| (OR) |  |  |  |  |
| 4. |  | Discuss about Cardiopulmonary resuscitation (CPR) procedure to support and maintain breathing and circulation for an adult. | CO1 | 20 |
| 5. |  | Explain the importance of Circuit Breaker and over load relay. | CO2 | 20 |
| (OR) |  |  |  |  |
| 6. | a. | Mention the importance of Trip wire. | CO1 | 10 |
|  | b. | Draw Magnetic balance transformer connected to current transformer. | CO2 | 10 |
| 7. | a. | Describe about TN network and TN-C-S Earthing system with neat diagram. | CO1 | 15 |
|  | b. | Elaborate about FRLS insulation. | CO2 | 5 |
| (OR) |  |  |  |  |
| 8. | a. | Outline the hazardous Approach Boundaries with neat sketch. | CO2 | 15 |
|  | b. | Write the application of Voltage operated earth leakage circuit with neat diagram. | CO2 | 5 |
|  |  | Compulsory: |  |  |
| 9. | a. | Discuss briefly about the grouping of gases with few examples. | CO3 | 10 |
|  | b. | Describe Barriers and Isolators. | CO2 | 10 |

ALL THE BEST