Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2017

| Code : | 14EE2033 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | HARMONICS AND POWER QUALITY | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Explain the following related with Power quality. i. Voltage imbalance ii. Under voltage iii. Over voltage iv. Frequency variation | CO2 | 16 |
|  | b. | Write down the basic steps involved in PQ Evaluation. | CO1 | 4 |
| (OR) |  |  |  |  |
| 2. | a. | Define power quality? Explain the reasons for increased concern in power quality. | CO2, CO1 | 10 |
|  | b. | Examine the source and effects of different categories of Long duration voltage Variations. | CO2 | 10 |
| 3. | a. | Draw the load voltage waveform of the uncontrolled rectifier with RL load and after 20ms 10MW load is removed. | CO2 | 6 |
|  | b. | Name the mitigation techniques of voltage sag and explain any two techniques with necessary circuit diagram and waveforms. | CO2,CO3 | 14 |
| (OR) |  |  |  |  |
| 4. | a. | In a 3-phase AC main, there is voltage sag at PCC of 10, 20 and 30% of ABC phase for 5, 10 and 20 cycles. Calculate i. Detroit Edison Sag Score (SS) ii. Voltage sag Energy iii. Voltage sag lost energy index (VSLEI) | CO2,CO1 | 8 |
|  | b. | Explain the different types of sag with a relevant vector diagram with proper equations. | CO2,CO3 | 12 |
| 5. |  | Discuss the fundamental principle of over voltage protection of load equipments. | CO2,CO1 | 20 |
| (OR) |  |  |  |  |
| 6. |  | Explain in detail about surge arrestors and surge suppressors for over voltage Protection. | CO2,CO1 | 20 |
| 7. | a. | Explain briefly about for the following harmonic filter. i. Active filters ii. Passive filters | CO2 | 15 |
|  | b. | What are harmonics? Explain harmonic distortion with relevant waveforms. | CO2, CO3 | 5 |
| (OR) |  |  |  |  |
| 8. | a. | A single phase fully controlled bridge converter is fed from supply of 220V at 50Hz at a thyristors firing angle of α = 300 Consider continuous load current of 20A. compute i.THD of AC mains current ii. DIN iii.TDD of AC mains current iv. DF v. DPF vi. PF | CO2, CO3 | 12 |
|  | b. | Discriminate between linear and non linear load. | CO2 | 8 |
|  |  | Compulsory: |  |  |
| 9. | a. | With the help of block diagram explain applications of expert system for power quality monitoring. | CO2, CO1 | 10 |
|  | b. | Explain the following i. Dynamic Voltage Restorer. ii. Unified Power Quality Conditioners. | CO2,CO1 | 10 |

ALL THE BEST