Reg.No. \_\_\_\_\_\_\_\_\_\_\_\_



**End Semester Examination – Nov/Dec– 2017**

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **Code :** | **14EI2011** | **Duration :** | **3hrs** |
| **Sub. Name :** | **ELECTRONIC INSTRUMENTATION** | **Max. marks :** | **100** |

**ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Q. No. | Sub Div. | Questions | Course  Outcome | Marks |
| 1. |  | Outline the complete circuit of an emitter – follower voltmeter using a FET stage and explain the circuit operation. | CO1 | 20 |
| (OR) | | | | |
| 2. | a. | Summarize the block diagram and system waveforms for a Dual Slope DVM. | CO1 | 15 |
| b. | Exemplify the block diagram of Q meter. Explain its operation. | CO1 | 5 |
| 3. | a. | Construct the basic circuit of an oscilloscope deflection amplifier together with an input attenuator and explain the operation of the circuit. | CO2 | 14 |
|  | b. | List any four types of displacement transducer & Give one application of each type. | CO2 | 6 |
| (OR) | | | | |
| 4. |  | Apply ±40V,500Hz triangular to the vertical deflecting plates of a CRT, and a ±50V, 250 Hz saw tooth wave to the horizontal deflecting plates& Examine the waveform in CRT Screen. The CRT has a 0.1 cm/V vertical deflection sensitivity and a 0.08cm/V horizontal deflection sensitivity. Assuming that the two inputs are synchronized. | CO2 | 20 |
| 5. |  | Draw a basic block diagram and waveforms for a Sampling oscilloscope. Sketch the waveforms throughout the system and explain its operation. | CO2 | 20 |
| (OR) | | | | |
| 6. | a. | Design the logic diagram for a decade counter, and explain its operation. Prepare a table showing the counter output states for each input pulse. | CO2 | 10 |
|  | b. | Explain the function of a sweep frequency generator with neat diagram. | CO2 | 10 |
| 7. | a. | Draft the Wein’s bridge oscillator circuit diagram. Explain how the circuit operates, and write equations for output frequency and amplifier gain. | CO2 | 15 |
|  | b. | Compare an LED seven segment display with LCD based on the supply current requirement for LED and LCD displays. | CO2 | 5 |
| (OR) | | | | |
| 8. |  | Explain the working principle of spectrum analyzer and describe its working in detail. | CO2 | 20 |
|  | | **Compulsory**: |  |  |
| 9. | a. | Summarize the stages involved in engineering of products using virtual instrument with a neat schematic diagram. | CO3 | 10 |
|  | b. | Explain in detail about the process involved in LabVIEW environment. | CO3 | 10 |

ALL THE BEST