Reg.No. \_\_\_\_\_\_\_\_\_\_\_\_



**End Semester Examination – Nov/Dec – 2017**

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **Code :** | **15EI2025** | **Duration :** | **3hrs** |
| **Sub. Name :** | **MEDICAL EQUIPMENT TROUBLESHOOTING AND MAINTENANCE** | **Max. marks :** | **100** |

**ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Q. No.** | **Sub Div.** | **Questions** | **Course**  **Outcome** | **Marks** |
| 1. | a. | Explain the steps involved in the troubleshooting of SMPS. | CO1 | 10 |
| b. | What are the importances of shielding? List the shielding methods and explain any one in detail. | CO1 | 10 |
| (OR) | | | | |
| 2. | a. | Explain the importance of following electrical concepts,   1. Cable Insulation Testing. 2. Equipment Shielding and Guarding. | CO1 | 10 |
|  | b. | Discuss the various alarm and display systems used in the medical equipments. | CO3 | 10 |
|  |  |  |  |  |
| 3. | a. | What are the electrical safety components? Explain their importance and testing procedures. | CO2 | 10 |
|  | b. | Examine the application of analog and digital probe system in the medical field. | CO3 | 10 |
| (OR) | | | | |
| 4. | a. | Define loading effect? Examine the effect of R,L,C in a measuring probe. | CO3 | 10 |
|  | b. | Describe the electrical safety standards that have to be followed when biomedical equipment is under troubleshooting. | CO2 | 10 |
|  |  |  |  |  |
| 5. | a. | Explain the typical problems of an X-ray machine and discuss the solution. | CO1 | 10 |
|  | b. | Explain the working of baby warmer mechanism. | CO1 | 10 |
| (OR) | | | | |
| 6. | a. | List the possible faults of an ECG recorder and discuss the solution. | CO3 | 10 |
|  | b. | Identify the major faults which may occur with mechanical ventilation system and summarize the solution. | CO3 | 10 |
|  |  |  |  |  |
| 7. | a. | Explain the procedure of connecting the patient monitoring system. | CO3 | 10 |
| b. | List out the sensors of a dialyzer machine? Identify the use of heparin pump. | CO3 | 10 |
| (OR) | | | | |
| 8. | a. | Explain the cardiopulmonary machine setup and identify the function SIMV mode of operation. | CO3 | 10 |
| b. | List the possible faults of an infusion pumps and discuss the solution. | CO1 | 10 |
|  | |  |  |  |
|  | | **Compulsory:** |  |  |
|  | | Evaluate the imporants of following concepts, |  |  |
| 9. |  | i. Vendor Services. | CO2 | 10 |
|  |  | ii. Quality and Safety Standards. | CO2 | 10 |

ALL THE BEST