Reg.No. ____________

UNIVERSITY

(Karunya Institute of Technology & Sciences)

(Declared as Deemed-to-be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – Nov/Dec – 2017

| Code : | 15PH3019 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | PRINCIPLES OF RENEWABLE ENERGY | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No | Sub Div | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | What is meant by renewable energy sources? List the advantages of Renewable energy sources? | CO1 | 10 |
|  | b. | Write short notes on major sources of conventional or commercial energy sources? | CO1 | 10 |
|  |  | (OR) |  |  |
| 2. | a | Explain the various classifications of energy resources? | CO1 | 10 |
|  | b. | Explain in brief these energy sources with special reference to Indian context? | CO1 | 10 |
| 3. | a. | Explain briefly about solar radiation at the earth’s surface? | CO1 | 10 |
|  | b. | With a neat sketch, explain any one type of solar energy storage systems? | CO1 | 10 |
|  |  | (OR) |  |  |
| 4. | a. | Define the following with respect to solar radiation i. Latitude angle ii. Altitude angle iii. Zenith angle with suitable diagrams | CO1 | 12 |
|  | b. | Write notes on i. solar pumping ii. solar cooking | CO1 | 8 |
| 5. | a. | Explain the basic components of a wind energy conversion system with a neat diagram? | CO1 | 12 |
|  | b. | Explain the following: i. Wind energy collectors ii. Wind energy storage system | CO1 | 8 |
|  |  | (OR) |  |  |
| 6. | a. | Discuss the advantages and disadvantages of WEC systems? | CO1 | 10 |
|  | b. | What are the different types of wind energy collectors? Elaborate on horizontal axis wind turbines. | CO1 | 10 |
| 7. | a. | Explain any three factors which affect bio-digestion? | CO1 | 10 |
|  | b. | Explain the process of Photosynthesis? What are the conditions necessary for it? | CO1 | 10 |
|  |  | (OR) |  |  |
| 8. | a. | With a neat diagram, explain the principle of biogas plant? | CO1 | 10 |
|  | b. | Explain the following bio-mass conversion technologies: i. Wet Process ii. Dry Process | CO1 | 10 |
|  |  | Compulsory : |  |  |
| 9. | a. | Write a note on thermionic and thermoelectric generators. | CO1 | 10 |
|  | b. | With a neat diagram, explain the principle of ocean thermal energy conversion system. | CO1 | 10 |

ALL THE BEST