Reg.No. ____________

End Semester Examination –  Nov/Dec - 2017

| Code : | 16EE1001 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | ELECTRICITY FOR ENGINEERS | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Compute the equivalent resistance between the terminals A and B. | CO1 | 5 |
|  | b. | Sketch the layout of a Nuclear power plant and explain how electricity is generated in the plant. | CO1 | 15 |
| (OR) |  |  |  |  |
| 2. | a. | State and explain Ohm’s Law. Give its limitations. | CO1 | 5 |
|  | b. | Draw the schematic view of horizontal axis wind turbine and explain its components. | CO1 | 15 |
| 3. | a. | Bring out a table of comparison between LED, CFL and incandescent lamps. | CO1 | 7 |
|  | b. | Draw the one line diagram of a typical power supply system. Mark all the components. | CO1 | 7 |
|  | c. | Distinguish between underground and overhead transmission line. | CO1 | 6 |
| (OR) |  |  |  |  |
| 4. | a. | With a neat block diagram, explain the Smart Energy meter. | CO2 | 7 |
|  | b. | Describe the working of fluorescent lamp with the help of a wiring diagram. | CO1 | 7 |
|  | c. | Compare offline and Online Uninterrupted Power supply system. | CO3 | 6 |
| 5. | a. | List down the electrical hazards with the effects of electricity on human body and also discuss the electrical protective devices. | CO1 | 10 |
|  | b. | Mention the applications of Electric Heating. | CO3 | 5 |
|  | c. | Discuss the steps to convert existing home into smart home. | CO2 | 5 |
| (OR) |  |  |  |  |
| 6. | a. | State the following laws. i. Faraday’s Law ii.Lenz’s law | CO1 | 4 |
|  | b. | Explain the concept of self and mutually induced emf with a neat diagram. | CO1 | 6 |
|  | c. | Show the parts of a three phase induction motor with a neat diagram and explain the working principle of the motor. | CO1 | 10 |
| 7. | a. | Identify the reason(s) for the single phase induction motor being not self starting. List down the methods to overcome and explain in detail any one method with neat diagram. | CO1 | 15 |
|  | b. | List the applications of single phase and three phase induction motors. | CO1 | 5 |
| (OR) |  |  |  |  |
| 8. | a. | Give a brief description of the following : i. Hall-effect sensor ii. Piezoelectric sensor | CO2 | 10 |
|  | b. | Discuss on Electric Vehicle in use today. | CO3 | 10 |
|  |  | Compulsory: |  |  |
| 9. | a. | Construct a system that will automatically control the water level in overhead tanks. | CO3 | 8 |
|  | b. | Develop a system for irrigation which will perform its operation without manual intereption. | CO3 | 12 |

ALL THE BEST