Reg.No. ____________

End Semester Examination – Nov/Dec – 2017

| Code : | 17CE3013 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | ADVANCED CONCRETE TECHNOLOGY | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Enumerate and explain the various types of polymers in concrete and its effects. | CO1 | 10 |
|  | b. | Evaluate the role of supplementary cementitious material in concrete. | CO1 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Admixtures are added to enhance the quality of concrete. Analyze the effect of Plasticizers and super plasticizers on fresh and hardened concrete. | CO1 | 10 |
|  | b. | Discuss viscosity modifying agent and water proofing agent. | CO1 | 10 |
| 3. | a. | Identify Bogue’s compounds. Calculate and tabulate the percentages of Bogue’s compounds. | CO2 | 10 |
|  | b. | Define workability and explain any two methods in detail to determine the workability of concrete. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Evaluate the factors responsible for the strength properties of hardened concrete. | CO4 | 10 |
|  | b. | Give reasons for the following - Compressive strength of 150mm diameter, 300mm height cylinder is lesser 150mm3 cube specimen. - Strength behavior not only depends on water/cement ratio but also on gel/space ratio. | CO4 | 10 |
| 5. | a. | Criticize the effect of temperature in concrete. | CO4 | 5 |
|  | b | Describe hot weather concreting. | CO4 | 5 |
|  | c. | Assess the corrosion of steel in concrete. Recommend suitable techniques to analyze corrosion. | CO6 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Explain rapid chloride penetration test as per IS and enumerate about its merits. | CO6 | 12 |
|  | b. | Enumerate the methods to evaluate abrasion resistance. | CO3 | 8 |
| 7. |  | Write short notes on - Light weight concrete. - Ready mix concrete. - Pumped concrete. - Nano materials in concrete. | CO3 | 20 |
| (OR) |  |  |  |  |
| 8. | a. | Discuss the properties and applications of High strength concrete. | CO3, CO4 | 10 |
|  | b. | Explain geopolymer concrete and reinforced concrete. | CO6 | 10 |
|  |  | Compulsory: |  |  |
| 9. |  | Design a concrete mix as per IS with the following data: Characteristic compressive strength…………………… 30 N/mm2 Maximum size of coarse aggregate…………………….. 20mm Degree of workability………………………100 mm(slump value) Degree of control………………………………………. Good Type of exposure……………………………………… Severe Specific gravity of cement…………………………….. 3.15 Specific gravity of coarse aggregate………………….. 2.60 Specific gravity of fine aggregate………………….. …. 2.60 Water absorption – Coarse aggregate…………………. 0.5% Water absorption – Fine aggregate……………………. 1.0% Free surface moisture – fine aggregate………………… 0% Entrapped air…………………………………………… 0% Fine aggregate grading…………………………… Zone III Assuming any other essential suitable datas wherever necessary calculate the quantity of materials required to cast the standard cube in the lab. | CO5 | 12 |
|  | b. | Formulate the relationship between - compressive strength and tensile strength. - average design strength and specified minimum strength. | CO4, CO6 | 8 |

ALL THE BEST