Reg.No. ____________

End Semester Examination – Nov/Dec – 2017

| Code : | 17EC3078 | Duration : | 3hrs |
| --- | --- | --- | --- |
| Sub. Name : | MEDICAL SIGNAL PROCESSING | Max. marks : | 100 |

ANSWER ALL QUESTIONS (5 x 20 = 100 Marks)

| Q. No. | Sub Div. | Questions | Course Outcome | Marks |
| --- | --- | --- | --- | --- |
| 1. | a. | Narrate the Origin of Heart Sounds. | CO1 | 10 |
|  | b. | Obtain the response of an LTI system whose impulse response h[n] = {1,2} and input x[n] = { 1,2,1} using DIT FFT algorithm. | CO4 | 10 |
| (OR) |  |  |  |  |
| 2. | a. | Describe two potential clinical applications of the analysis of EMG signals. | CO1 | 10 |
|  | b. | Determine the Nyquist Frequency and Nyquist Interval for the signal x(t) = Cos 2(20t). | CO4 | 5 |
|  | c. | Analyse the features of the different types of correlation techniques. | CO2 | 5 |
| 3. | a. | Illustrate the steps and processes involved in computer aided diagnosis and therapy based upon biomedical signal analysis with a block diagram. | CO1 | 10 |
|  | b. | Draw the three-channel schematic plot of simultaneous recordings of the ECG, PCG and carotid pulse signals for two cardiac cycles. | CO2 | 10 |
| (OR) |  |  |  |  |
| 4. | a. | Characterize the difficulties in Biomedical Signal Acquisition and Analysis. | CO5 | 10 |
|  | b. | Estimate the parameters of ECG using QRS Detection Technique and Template Matching Technique. | CO1 | 10 |
| 5. | a. | Discuss the methods of Motion Artifacts and Powerline Interference removal in ECG Signal. | CO4 | 10 |
|  | b. | Enumerate the steps involved in the design of Butterworth filters. | CO4 | 10 |
| (OR) |  |  |  |  |
| 6. | a. | Bring out the significance of Moving Average Filters. | CO4 | 10 |
|  | b. | Determine IDFT of X[k] = {10, 2+j, 0, 2-j} using DIT FFT algorithm. | CO4 | 10 |
| 7. | a. | Analyze the need for data compression. | CO3 | 5 |
|  | b. | Summarize the Direct data compression techniques with its special features. | CO3 | 15 |
| (OR) |  |  |  |  |
| 8. | a. | Differentiate the concepts of Peak Picking Compression and Cycle to Cycle compression techniques. | CO3 | 10 |
|  | b. | Analyse Turning Point Algorithm Techniques for Direct ECG Data compression. | CO3 | 10 |
|  |  | Compulsory |  |  |
| 9. | a. | Apply the concept of Adaptive Segmentation for ECG and PCG signals. | CO5 | 10 |
|  | b. | Elaborate on the application of heart rate variability analysis for the detection of Coronary Artery disease. | CO6 | 10 |

ALL THE BEST