Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	INSTRUMENTAL METHODS OF ANALYSIS			      Time : 3 hours

Subject Code:	09BT202										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Centrifugation for isolation and purification of components are known as __________.

2.	The method of separating proteins according to their isoelectric points in a pH gradient is called ___________.

3.	In colorimeter the usual wavelength range is from ___________.

4.	Modern techniques of mass spectrometry were devised by Arthur Jeffrey Dempster and F.W. Aston in__________.

5.	The movement of charged particles, under the influence of an electric current to oppositely charged electrodes is called ___________.

6.	Hexane is the ____________ phase in HPLC.

7.	__________ is an image on an x-ray film or nuclear emulsion produced by the pattern of decay emissions.

8.	The modern electronic scintillation counter was invented in 1994 by __________.

9.	Differential scanning calorimetry or DSC is a __________.

10.	__________ can be used only as a finger print for identification purposes.

PART – B  (5 x 3 = 15 MARKS)

11.	Write a note on buffering systems of blood.

12.	Give a note on Beer-Lamberts law.

13.	Write short note on polyacrylamide.

14.	Mention the applications of radioactive isotopes.

15.	Give a note on differential scanning colorimeter.

PART – C  (5 x 15 = 75 MARKS)

16.	Discuss the Henderson-Hassalbalch equation and its applications.

(OR)

17.	Describe the principle and instrumentation of analytical ultra centrifugation.

18.	Explain the principle, instrumentation and applications of spectrophotometer.

(OR)

19.	Elucidate the principle, description and applications of colorimeter.

20.	Give a detail note on HPLC.

(OR)

21.	Discuss the Ion exchange of chromatography.

22.	Explain the principle and instrumentation of scintillation counter.

(OR)

23.	Write an account on autoradiography.

24.	Discuss the construction and working of differential thermal analysis.

(OR)

25.	Explain the basic theories of thermal analysis.