Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	SENSORS AND TRANSDUCERS						      Time : 3 hours

Subject Code:	10EI203											       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What are standards?

2.	Define Error.

3.	State the classification of standards.

4.	Define Mathematical modeling

5.	How the displacement is measured.

6.	What is compensation?

7.	What is capacitive transducer?

8.	Hall Effect transducer is used to measure __________.

9.	pH value of a solution is defined as _________.

10.	Mention two advantages of smart sensor.

PART – B  (5 x 3 = 15 MARKS)

11.  	List the classification of Instruments.

12. 	What are the types of Transducers?

13.  	State Seebeck Effect.

14. 	Write the basic principle of piezoelectric transducers.

15. 	What is Vibration sensor?

PART – C  (5 x 15 = 75 MARKS)

16. 	a.	Discuss in detail the different types of errors in measurement system.	                        (10)

b.	What are the Odds and uncertainities in measurement?			                   		    (5)

(OR)

17. 	a.	Ten measurements of a pressure made by an instrument at different time intervals give the 	following readings in kg/cm2 :  					 		    					  (10)

7.92, 8.03, 8.10, 7.95, 8.01, 7.98, 7.95, 8.07, 7.94 and 7.97.

Find arithmetic mean, standard deviation, and most probable error.

b.	With the neat sketch, explain Generalized Measuring System.                                      	    (5)

18. 	a.	Derive the mathematical model for the first order system, when the input is Unit Ramp 			signal.                                                                                                                                  (8)

b.	What are the factors influencing the choice of transducer?				       			    (7)

(OR)

19. 	Derive the mathematical model for the second order system under damped case, when the input is Unit step signal.

20. 	Explain the construction and working and signal conditioning circuits of resistance thermometers with temperature compensation.

[P.T.O.]

(OR)

21. 	Explain the construction and operation of:

a.	LVDT. 								                            							    (8)
b.	Synchros.							                                       					    (7)

22. 	Describe with a sketch the construction details and characteristics of a piezo resistive pressure transducer.

(OR)

23. 	Explain the construction and operation of a capacitance transducer used for measurement of displacement.

24. 	Write short notes on:

a.	Fibre optic sensors.                                                                                             		    (8)

b.	Smart sensor.                                                                                                      		    (7)

(OR)

25. 	Explain the different types of digital transducers used in displacement measurement.