Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	INDUSTRIAL INSTRUMENTATION					      Time : 3 hours

Subject Code:	10EI209											       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define Standards.

2.	Define Calibration.

3.	What is the use of rotameter.

4.	What are the major three methods of flow meters?

5.	List two types of Thermometer.

6.	What is the material used to manufacture diaphragm?

7.	What is radar in Level Measurement?

8.	Define density of liquid.

9.	If the force flow relation is linear then the fluid is __________.

10.	__________is a measure of fluidity of the system.

PART – B  (5 x 3 = 15 MARKS)

11.  	List the types of Manometers.

12.  	What is Venturi?

13.  	State seebeck effect.

14.  	Define conductivity.

15. 	List the application of Viscometer.

PART – C  (5 x 15 = 75 MARKS)

16. 	With the neat sketch, explain:

a.	Mcleod gauge. 																    (8)

b.	Thermal conductivity gauges. 													    (7)

(OR)

17. 	a.	With the neat sketch, explain Vacuum gauges. 									    (8)

b.	Discuss in detail about Calibration of Pressure gauge using Dead Weight Tester. 	    (7)

18. 	Describe with neat sketches, the construction and working principle of the following types of flow meters.

a.	Venturi tube.                                                                                          		 		    (8)

b.	Pitot tube.                                                                                               				    (7)

(OR)

19. 	Describe with neat sketches, the construction and working principle of the following types of flow meters.

a.	ultrasonic flow meter.															    (8)

b.	Target flow meter.						 									    (7)

20. 	With the neat sketch, explain the construction, principles, and types of Resistance temperature detector (RTD). Also explain the construction requirements for industry	.

[P.T.O.]

(OR)

21. 	Explain the construction and operation of:

a.	Radiation pyrometer.						                     							    (8)
b.	Optical Pyrometer.						                                					    (7)

22. 	Describe an ultra sonic type level gauging system ad explain with a neat sketch. Show how the digital outputs are directly related to the level measurement?

(OR)

23. 	Which type of level indicator is used for level measurement in condenser? Explain with neat sketch.

24. 	Describe the principle and operation of a say bolt viscometer and discuss about its utility.

(OR)

25. 	Explain gas densitometer with a neat sketch.