Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	BIOMEDICAL INSTRUMENTATION					      Time : 3 hours

Subject Code:	10EI211											       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.  	Which node acts as a natural pacemaker?

2.  	What is the bandwidth of a normal ECG signal?

3. 	What is the normal Cardiac output of human body?

4. 	Which device is used to measure flow rate and lung volume automatically?

5. 	What is the safe Let-go current value for men and women?

6. 	What is the range of oxygen -nitrous oxide ratio in anesthesia machine?

7. 	What is the processing time for optical method of blood cell counter?

8. 	Which device is used to accurately measure blood sodium and potassium?

9. 	Why tungsten is chosen as target in X-rays?

10. 	What is coronary angiography?

PART – B  (5 x 3 = 15 MARKS)

11. 	List the human cell components and their functions.

12. 	Categorize the characteristics of physiological transducer.

13. 	What is the need for ventilators?

14. 	Draw and explain the various components of a spectrophotometer type instrument.

15. 	Differentiate T1 relaxation and T2 relaxation processes in MRI

PART – C  (5 x 15 = 75 MARKS)

16. 	a.	Explain the different parts of Central and Peripheral nervous system and their activity with 	neat sketch.                                                                                              				    (7)

b.	What are resting and action potentials? Show the wave form of action potentials and 	explain the various mechanisms.												    (8)

(OR)

17. 	a. 	Differentiate between leads and electrodes. Explain the various lead configurations with 	the help of ECG waveforms.    													  (10)

b.	Explain in detail about the characteristics of ECG and EMG waveforms.                  	    (5)

18. 	a.	What are the methods for measuring blood pressure? Draw a typical setup and explain.(8)

b.	Explain the measurement of heart rate with suitable diagram.                                    	    (7)

(OR)

19. 	a.	Draw and explain the schematic of evoked response audiometer and explain.             	   (8)

b.	Explain the operation of pulse-oximeter with relevant diagram.                                 	    (7)

20. 	a.	Explain the principle of DC Defibrillators.                                                                  	    (7)

b.	Describe short wave diathermy with suitable sketch.                                                  	    (8)

(OR)

[P.T.O.]

21. 	a.	List  down the various types of pacemakers describing the working of any one of them. (7)

b.	Analyze the physiology of heart and lungs and derive an approximate engineering system 		equivalent to the same.														    (8)

22.   Explain the working principle of automated biochemical analysis system with neat diagram.

(OR)

23. 	a.	Discuss about the pO2   measurement with suitable sketch.                                        	    (8)

b.	Briefly explain the blood pH with the help of neat diagram.                                      	    (7)

24. 	Briefly explain the different modes of ultrasonic scanning with suitable diagrams.

(OR)

25. 	a.	Write a note on multichannel telemetry.                                                                     	    (7)

b.	Describe the operation of computerized tomography (CT).	                                       	    (8)