Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	MEASUREMENTS AND INSTRUMENTATION			      Time : 3 hours

Subject Code:	11EE225										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is the difference between charge and energy?

2.	If 100 Ω resistor is connected across the terminals of a 2.5 V battery. What is the power dissipated in the resistor?

3.	Define error.

4.	Why are meters calibrated?

5.	How to measure the low resistance?

6.	List the methods to find the earth resistance.

7.	What is a transducer?

8.	Define sensors.

9.	List the advantages of digital instruments.

10.	What is the use of a harmonic analyzer?

PART – B  (5 x 3 = 15 MARKS)

11.	An electric heater draws 1000 W from a 230 V supply. What power will it take if the voltage is 210 V? What is the resistance of the heater?

12.	Give the importance and necessity of calibration.

13.	Draw a sample Hay’s and Schering bridges.

14.	Define Piezo-electric effect.

15.	What is the use of Spectrum Analyzer?

PART – C  (5 x 15 = 75 MARKS)

16.	With a neat sketch explain the dynamometer type moving coil Instrument. Also write the difference between moving coil and moving iron type meters.

(OR)

17.	Explain the attraction and repulsion type moving iron instruments with a neat sketch.

18.	Discuss the construction and operation of dynamometer type wattmeter with torque equation.

(OR)

19.	Briefly explain:

a.	Maximum demand indicator. 										    			    (8)

b.	Power factor meter. 															    (7)

20.	With a suitable example explain, how to measure a medium resistance in a circuit.

(OR)

21.	Explain the step by step procedure for measurement of inductance and capacitance.

22.	Write short notes on:

a.	Thermistors.					 												    (7)

b.	Speed measuring technique.													    (8)

(OR)

[P.T.O]

23.	Discuss about transducers and its types with its applications.

24.	Explain the construction and working of a digital multimeter.

(OR)

25.	With a neat block diagram explain the working of a dual oscilloscope.