Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	PLC AND AUTOMATION								      Time : 3 hours

Subject Code:	11EE245										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	List the main components of a PLC.

2.	Mention the function of a field bus.

3.	Draw the ladder logic diagram to turn ON/OFF a device using push buttons.

4.	HMI Stands for ____________.

5.	SCADA stands for ____________.

6.	What is purpose of Local Control Unit in DCS?

7.	The term DCS means _____________.

8.	Mention any two applications of PLC.

9.	List any two applications of factory automation.

10.	What is meant by CNC Machine?

PART – B  (5 x 3 = 15 MARKS)

11.	Classify the different types of PLC.

12.	There are three machines, each with its own start-stop button. Only one may run at a time. Draw the ladder logic diagram.

13.	What is redundancy in DCS?

14.	Write short notes on Annunciators.

15.	What is meant by Intelligent Automation?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the architecture of PLC with a neat sketch. Mention the advantages of using a PLC.

(OR)

17.	Explain the architecture and topologies used in field bus communication.

18.	Draw the ladder logic diagram for AND, OR, NOR, NAND and EXOR Gates.

(OR)

19.	a.	Explain the PLC Arithmetic Functions with necessary examples.					    (7)

b.	Explain in detail about the various configurations of operators display.               		    (8)

20.	Discuss in detail about SCADA with a neat sketch.

(OR)

21.	Draw the architecture of DCS and explain the function of each block in detail.

22.	Explain in detail about the machine Automation with a necessary diagram.

(OR)

23.	Explain in detail about the Process Automation with a necessary diagram.

24.	Explain in detail about Flexible Manufacturing System Concept with necessary diagram.

(OR)

25.	Describe the process of Computer Integrated Manufacturing with a suitable example.