Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	INSTRUMENTATION AND PROCESS CONTROL FOR FOOD ENGINEERS											     Time : 3 hours

Subject Code:	11EI215											       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define system.

2.	What is process control?

3.	State the transfer function of control system.

4.	Mention the uses of control valve.

5.	Define the stability in a linear system.

6.	Write any two applications of stability analysis.

7.	What is sensor?

8.	Define gauge factor.

9.	List any two capacitive sensing elements.

10.	Mention the application of gas chromatograph.

PART – B  (5 x 3 = 15 MARKS)

11.	Sktech the block diagram of process control.

12.	Distinguish open and closed loop control systems.

13.	State mason’s Gain formula.

14.	Compare thermistor and thermocouple.

15.	Mention the measurement composition of pH meter in detail.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Illustrate the concepts of damped and cyclic response of process control.			  (10)

b.	Define the following terms.

i.	Controller and control element.

ii.	Measurement.															    (5)

(OR)

17.	Explicate the transforms of step, exponential and ramp functions.

18.	Illustrate the construction and working of pneumatically operated valve and spring.

(OR)

19.	Analyze the following.

a.	Servo- mechanisms.

b.	Hydraulic and pneumatic control systems.

20.	Determine the transfer function for the below signal flow graph.

[P.T.O.]

(OR)

21.	Analyze the concepts of stability and Routh test for stability.

22.	Illustrate the construction and working of capacitive and inductive pressure sensors.

(OR)

23.	Explain the construction and working of RTD, Thermistors and bimetallic strips.

24.	Explicate the working of ultrasonic level sensor and Electrical conductivity cell.

(OR)

25.	Illustrate the construction and working of gas chromatograph and mass spectrometer.