Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	INTELLIGENT BUILDINGS							      Time : 3 hours

Subject Code:	12CE257										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Give the expansion for LEED rating.

2.	What is BMS?

3.	What is luminous intensity?

4.	What is fire load?

5.	How do you grade buildings according to fire resistance?

6.	What are the commonly used fire safety equipments in buildings?

7.	Mention the application of interior intrusion.

8.	What is structural health monitoring?

9.	What is duplex law?

10.	What is meant by PLC?

PART – B  (5 x 3 = 15 MARKS)

11.	Mention the benefits of smart building.

12.	What are the essentials of an air conditioning system?

13.	Enumerate the characteristics of fire resisting materials.

14.	Define Kepler’s law.

15.	What is satellite dish?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the important eight design aspects of Intelligent buildings.

(OR)

17.	Write in detail about the smart structures and materials in Civil Engineering.

18.	Explain in detail the classification and systems of air conditioning.

(OR)

19.	Explain the power quality in building service applications.

20.	Discuss the principles of achieving fire and safety management.

(OR)

21.	Write the general rules for fire safety requirement for building as per IS1641-1960.

22.	Discuss in detail:   a.	Fire alarm       b.	Fire extinguishing equipments

(OR)

23.	Enumerate the concept of Structural Health Monitoring.

24.	Discuss about the characteristics of satellite communication.

(OR)

25.	State the advantages of optical fibers in communication.