Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	INDUSTRIAL WASTE TREATMENT AND DISPOSAL	      Time : 3 hours

Subject Code:	12CE259										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define Toxicity of waste.

2.	What is Waste segregation?

3.	Name different types of settling.

4.	List some most commonly used coagulants.

5.	What is the objective of biological treatment of waste?

6.	What are refractory organics?

7.	Name the “Main products” from a petro-chemical industry.

8.	What is Oil refining?

9.	Name two types of tanning.

10.	What is a Distillery?

PART – B  (5 x 3 = 15 MARKS)

11.	What is Environmental audit?

12.	What are the needs for equalization of waste?

13.	Explain Bacteria-Algae symbiosis.

14.	List the various manufacturing stages involved in a steel plant.

15.	Indicate the treatment system for a sugar mill waste with a help of a flow diagram.

PART – C  (5 x 15 = 75 MARKS)

16.	a. 	What are Effluent standards? What are their objectives? State their limitations.		    (8)

b. 	Explain, how material and process modifications could bring down waste generation.	    (7)

(OR)

17. 	a. 	What is volume reduction and strength reduction? Explain in detail.				    (8)

b. 	Explain the effects of industrial effluents on streams.								    (7)

18.	What is Chemical oxidation? What are the purposes of chemical oxidation? Explain the process

using different oxidants.

(OR)

19.	What is combined treatment of Industrial and Municipal waste? What are the advantages of such a scheme? What are the issues in the scheme?

20. 	How could biological treatment of industrial waste be achieved by Activated sludge process? What are the influencing design parameters? What are the various modifications possible in ASP?

(OR)

[P.T.O.]

21.	a.	Explain the process of Reverse Osmosis in the removal of dissolved inorganics from 	Industrial effluents. What are its merits and demerits?								    (8)

b. 	How is Phosphorous and Nitrogen removal done from Industrial effluents? Explain any 	one method.																	    (7)

22.	a. 	List the typical characteristics of a distillery and highlight their effects on receiving 	streams.																		    (8)

b. 	Indicate the sources of generation of liquid waste from a pulp and paper mill using a flow 	sheet. 																		    (7)

(OR)

23.  a. 	Explain the manufacturing processes involved in a Tanning industry.				    (8)

b. 	Discuss the sources of generation of liquid waste from a typical food processing industry. 	What are its most general characteristics?										    (7)

24.	a. 	Explain the treatment system for a Textile mill waste, highlighting the importance of each 	unit.																		    (8)

b. 	What are pharmaceutical Industries? Explain the manufacturing process involved in a 	synthetic drug plant.															    (7)

(OR)

25. 	Make a detailed note on:

a. 	Mining waste.			b. 	Cement plant waste.			c. 	Fertilizer plant waste.