Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	BIOMEDICAL INSTRUMENTATION					      Time : 3 hours

Subject Code:	12EC238										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	EEG Stands for ________________.

2. 	The Bio Electrical generator of heart is situated at _______________.

3. 	List any two transducers used for measuring body temperature.

4. 	Mention the principle involved in Magnetic Blood Flow Meter.

5. 	TAH stands for _______________.

6. 	What is diathermy?

7. 	Define pH of blood.

8. 	Mention the different types of Chromatography.

9. 	MRI stands for _________________.

10. 	What is meant by Bio- Telemetry?

PART – B  (5 x 3 = 15 MARKS)

11. 	What are resting and action potentials?

12. 	Define Respiratory rate.

13. 	What is a Pacemaker?

14. 	Write a short note on Flame photometer.

15. 	Explain briefly about Angiography.

PART – C  (5 x 15 = 75 MARKS)

16. 	Explain Bio- Medical parameters of Cardio-Vascular System along with characteristics and

corresponding transducer.

(OR)

17.	 Explain Electromyography (EMG)- Lead system, recording setup with suitable diagram.

18.  	a.	Discuss the working principle of any one method of Measuring Blood Flow.			    (8)

b.	Explain any one method of Measuring Blood Pressure.							    (7)

(OR)

19. 	a.	Explain in detail about the different methods employed in measuring the Cardiac output. 																					    (8)

b.	Describe the method used to determine the Total Lung Capacity. 	             		       	    (7)

20.	Explain in detail about:

a.	Pacemaker Circuit. 					         	            							    (8)

b.	Defibrillator Circuit.															    (7)

(OR)

21.  	Explain the working principle of Heart Lung Machine with a neat diagram.

22. 	Explain in detail about the working principle of Spectrophotometer with a neat diagram.

(OR)

[P.T.O.]

23.  	a.	With a suitable diagram explain how pH of Blood is measured. 	             			    (8)

b.	Write short notes on Electrical Safety Hazards in hospitals.						    (7)

24.	a.	Explain the working of an X-Ray Machine.				            					    (8)

b.	Write a note on Magnetic Resonance Imaging System.		            				    (7)

(OR)

25.  	Explain in detail about how 3D images can be formed using Computerized Tomography (CT).