Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	BUILDING AUTOMATION								      Time : 3 hours

Subject Code:	12EE253										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Give any one example for temperature sensor.

2.	Give any one application of level sensor in domestic buildings.

3.	Write the expression of reactive power in a single phase A.C system.

4.	Define power factor.

5.	Write any one type of fire sensor.

6.	Give any one important point to be considered while placing detectors in safety system.

7.	What is Antipass back in security systems?

8.	Write the full form of CCTV.

9.	Give any one important advantages of integrated building automation system.

10.	Give any one application of integrated systems.

PART – B  (5 x 3 = 15 MARKS)

11.	List the drawbacks of building automation system.

12.	What are the types of energy meters?

13.	List the various stages of development of fire.

14.	Distinguish between analog and digital video recording.

15.	What is the concept of Generic Model?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain in detail the Building Management System.

(OR)

17.	Discuss in detail the Concept of Controller IOs, Cable Selection and Earthing.

18.	Explain in detail the Effect of Power Quality on Energy Consumption in process industries.

(OR)

19.	Describe in detail the Importance of Energy Saving in commercial buildings.

20.	Explain in detail the Fire Extinguishing Principles and Its Classification.

(OR)

21.	Discuss in detail the Best Practices in Installation of safety systems.

22.	Explain in detail the Intrusion Detection System with a neat diagram.

(OR)

23.	Explain in detail how the TCP/IP Networking is used in video management.

24.	Discuss in detail the use of biometrics in access control system and also explain the benefits of integrated system.

(OR)

25.	Explain in detail the Challenges and Future Prospects of Integrated Systems in building automation.