Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	HVDC AND FACTS										      Time : 3 hours

Subject Code:	12EE263										       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The annual expenditure on the variable part of the transmission system should be equal to the annual cost of energy wasted in the conductor used in that system is called ___________.

2.	The conductor surface occupies greater current density than centre of the conductor is called as _____________.

3.	HVDC links can interconnect the electrical grids that operate on _________and _________Hz.

4.	Suspension of quadrivalve assembly from ceiling to withstand seismic force is the recent trends to improve reliability and reduce the cost of ____________.

5.	Write the objective of SVC?

6.	UPFC has ____________ voltage source converter.

7.	How many bridge converters are required for 18 pulse circuit?

8.	What is the major advantage of TCSC?

9.	To use the full forward blocking capabilities of each SCR the forward blocking voltage must be ___________distributed.

10.	The reliability of string is measured by____________.

PART – B  (5 x 3 = 15 MARKS)

11.	How to plan for HVDC transmission?

12.	What is the operation of MCT?

13.	What are the advantages of thyristor converters?

14.	What are the disadvantages of the harmonics present in the inverter system?

15.	List the advantages of STATCOM over synchronous condenser.

PART – C  (5 x 15 = 75 MARKS)

16.	What are the line losses present in transmission system and explain briefly how to minimize them with FACTS devices.

(OR)

17.	With neat circuit diagrams of different kinds of HVDC links explain the principle of operation of HVDC system.

18.	Compare the HVDC transmission with HVAC transmission based on economical point of view.

(OR)

19.	a.	What are the recent trends to improve reliability and reduce the cost of HVDC valve?	 																					    (8)

b.	List the disadvantages of HVDC system	.										    (7)

20.	With a neat one line diagram, explain the basic concept of static TCSC and 	explain their characteristics.

(OR)

21.	With an equivalent circuit and phasor diagram explain the operation of UPFC.

[P.T.O.]

22.  Discuss the influence of SVC on system voltage and explain the basic  	principle.

(OR)

23.	Discuss the applications of TCSC.

24.	With a neat VI characteristics, explain the objectives of STATCOM with basic 	principles.

(OR)

25.	List the modes of operation of UPFC and explain with suitable characteristics.