# Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

# Subject Title: 	INDUSTRIAL COMMUNICATION SYSTEMS			Time : 3 hours

# Subject Code: 	12EI311										        Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Explain in detail about OSI model with neat diagram.

(OR)

2.	Describe the connection details of UART and its function as a Transmitter & receiver with necessary diagrams.

3.	Discuss about RS 232 the most widely used serial interface standard.

(OR)

4.	In detail, explain the functioning, hardware requirements and protocols employed in Ethernet standard.

5.	What are the different types of wired transmission media? Discuss about them in detail.

(OR)

6.	a.	Describe in detail on Frequency Analysis of Noise and Electrical Coupling of Noise.

(12)

b.	Discuss the various factors affecting signal propagation.                                          	 (8)

7.	Elaborate on error detection, error correction and data compression techniques.

(OR)

8.	Discuss the components, working and types of a Modem. How error correction is carried out in a Modem?

9.	Compulsory:

Describe the Architecture and communication model of the Profibus protocol.