Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	GENERATION, TRANSMISSION AND DISTRIBUTION	     Time : 3 hours

Subject Code:	EE253											      Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Differentiate conventional and non conventional energy sources.

2.	What is meant by load duration curve?

3.	What is the effect of skin effect on the resistance of the line?

4.	What are the units of ABCD (generalised) constants of a transmission line?

5.	Define corona.

6.	What is the voltage rating of pin type insulator?

7.	What materials are used to make cable sheaths?

8.	Why grading is done in the cables?

9.	Define feeders.

10.	What is the usable voltage for secondary distribution?

PART – B  (5 x 3 = 15 MARKS)

11.	Differentiate load factor and load capacity factor.

12.	On what factor does the skin effect depends?

13.	Define sag and stress of a transmission line.

14.	How loss angle and breakdown strength of a cable is determined?

15.	What are the advantages of a ring main system over radial system?

PART – C  (5 x 15 = 75 MARKS)

16. 	With a neat sketch explain the construction and operation of thermal power plant.

(OR)

17. 	What are the different methods available for power generation by non conventional energy sources? Describe briefly about wind and solar power generation.

18. 	Derive the expression for capacitance and inductance for a three phase transmission line with double circuit.

(OR)

19. 	Derive the ABCD constants for a short and medium line using nominal π method.

20. 	Explain briefly about the various types of insulators used in transmission lines.

(OR)

21. 	a. 	Discuss shortly about the effects of wind and ice on a transmission line. 			    (7)

b. 	Write short notes on stringing chart.											    (8)

22.	a. 	Describe the function sheath effects in underground cables briefly.     				    (8)

b. 	Compare overhead lines and Underground cables. 								    (7)

(OR)

23. 	Write short notes on

a.	 Insulation resistance of underground cable.										    (5)

b. 	Types of underground cables.													  (10)

[P.T.O.]

24.	Explain about the following

a.	Distributors.																	    (5)

b.   	Radial main system.					            									    (5)

c.   	Calculation of voltage in distributors with concentrated load.						    (5)

(OR)

25.	Explain briefly about AC single phase and three phase distribution system.