Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2014

Subject Title : 	POWER SYSTEM PROTECTION AND SWITCHGEARS														      								     Time : 3 hours

Subject Code:	EE256											      Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Write the significance of per unit representation.

2.	What is meant by Symmetrical fault?

3.	What do you mean by ring main system?

4.	Enumerate the concept of burden in the protective system.

5.	What is meant by arc?

6.	Write the merit of HVDC.

7.	Write the cause for over voltage?

8.	Write the significance of incipient fault.

9.	List the uses of insulation.

10.	What is meant by earthing?

PART – B  (5 x 3 = 15 MARKS)

11.	Explain the functions of current limiting reactor.

12.	Describe the importance of feeder protection.

13.	Explain the principles of arc extinction.

14.	List the different schemes of protections against lightning.

15.	Explain the concept of arc suppression coil.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Describe the causes for the different types of power system faults.

b.	Explain the necessity of different types of protection schemes.

(OR)

17.	a.	Illustrate the differences between the symmetrical and unsymmetrical faults.

b.	Explain the function of Potential Transformer with neat diagram.

18.	a.	Derive the universal torque equation of the protective relay.

b.	Explain the characteristics of distance relay protection.

(OR)

19.	a.	Explain the differential protective scheme of transformer with a neat diagram.

b.	Describe the principles of microprocessor based protective scheme.

20.	a.	Explain the significance of current chopping phenomenon in the circuit breaker.

b.	What are the various tests perform on the circuit breaker? Explain them in detail.

(OR)

21.	With aid of neat block diagram, explain the construction and operating principles of sulphur hexa fluoride circuit breaker.

22.	a.	Describe the principles of lighning phenomenon.

b.	Enumerate the concept of travelling waves in the transmission lines.

[P.T.O.]

(OR)

23.	a.	Explain the various factors influencing in the selection of lightning arrestor.

b.	Describe the function of lightning arrestor with neat illustration.

24.	a.	Describe the concepts of resistance and reactance types of earthing.

b.	Explain the importance of earthing in the transformer.

(OR)

25.	a.	Briefly describe about the various insulation levels of substation equipments.

b.	List various Indian Electricity rules about the protection of substation equipments.