Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	INSTRUMENTATION AND CONTROL SYSTEMS		       Time: 3 hours

Subject Code:	09AE212	       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	A known accurate measure of physical quantity is termed as ______.

2.	Define transducer.

3.	What is Thermistor?

4.	Classify the types of strain gauges.

5.	Give the basic principle for elastic force meter.

6.	What is the range of unbonded and bonded strain gauge?

7.	State the principle of servomechanisms.

8.	Define hydraulic capacitance.

9.	What is the order of the system?

10.	Sketch the response of a second order-underdamped system.

PART – B (5 x 3 = 15 MARKS)

11.	Differentiate precision and accuracy.

12.	Write the principle of ultrasonic flow meter.

13.	Describe the importance of viscosity measurements in industrial process.  What is the relation between dynamic and kinematic viscosity?

14.	Distinguish between open loop and closed loop system.

15.	Write the necessary condition for stability of the system.

PART – C (5 x 15 = 75 MARKS)

16.	Give the structure of genralized measuring system and explain.

(OR)

17.	What is recorder? How is it classified? Explain the working of X-Y recorder.

18.	With neat sketch, explain the working of piezo electric accelometer. Write its applications and advantages.

(OR)

19.	Explain the working of the following with neat sketch.

a.	Bourdon tube pressure gauge		b.	Total radiation pyrometer

20.	Explain the function of Rosettes and write the working of different types of strain gauge Rosette.

(OR)

21.	a.	Explain in detail how the load cell is used for measuring force.           				(9)

b.	List the advantages and disadvantages of electrical torsion meter and write its applications.

(6)

[P.T.O]

22.	Explain the different types of controller.  Write its transfer function and application.

(OR)

23.	Write Mason’s gain formula and write its properties.  With example, explain how the overall transfer function of the system by signal flow graph is calculated.

24.	Using Routh criterion, determine the stability of the system represented by characteristic equation, s4+8s3+18s2+16s+5=0.    Comment on the location of roots.

(OR)

25.	Sketch the Bode plot for the following transfer function and determine the system gain K for the gain cross over frequency to be 5 rad/sec  G(s)=Ks2(1+0.22)(1+0.02s).