Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title : 	INDUSTRIAL WASTE TREATMENT AND DISPOSAL        Time : 3 hours

Subject Code:	09CE238			       						             Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Where do you dispose the industrial waste?

2.	List the waste reduction techniques.

3.	What is the purpose of neutralization?

4.	What is absorption?

5.	State the purpose of biological wastewater treatment.

6.	List the membrane filtration.

7.	Name the appropriate treatment methods for chemical industry.

8.	What is the process involved in a coal wash?

9.	Define “Jordan’.

10.	State the characteristics of the tannery waste.

PART – B  (5 x 3 = 15 MARKS)

11.	Write short note on house keeping.

12.	What are the methods followed in separation of solids?

13.	Give the advantages of biological treatment methods.

14.	What are the processes involved in the second category of cotton mills?

15.	What is ‘massecuite’?

PART – C  (5 x 15 = 75 MARKS)

16.	What do you understand by the effect of pollution into streams and on to lands? Explain with suitable example.

(OR)

17.	Briefly describe the waste control measures to reduce the volume of wastewater.

18.	Explain the primary wastewater treatment plant with a typical flow diagram.

(OR)

19.	Discuss in detail the treatment of industrial waste with municipal sewage.

20.	Describe the main process used for the removal of phosphorous from waste water.

(OR)

21.	List the factors that must be considered while designing the activated sludge process. And also discuss the most important factor.

22.	Draw a general flow diagram for the treatment of waste water from pharmaceutical industries. And also state the aspects required to be considered before selecting a particular treatment system.

(OR)

23.	Explain the different types of process used to reduce NOx emission from fertilizer industries.

24.	Discuss the sources of wastewater in pulp processing of paper industries.

(OR)

25.	Explain about the pre-treatment operations in leather tanning industries.