Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	LOGIC AND DISTRIBUTED CONTROL SYSTEMS		       Time: 3 hours

Subject Code:	09EI224		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	What are the components of Data acquisition system?

2.	Define Proportional Band.

3.	Define Scan time of PLC.

4.	What is retentive timer?

5.	Give some of the number comparison functions used in PLC.

6.	What are interlocks?

7.	Define redundancy.

8.	List out the building blocks of DCS.

9.	Give any two communication Protocols used in DCS.

10.	Give some advantages of DCS.

PART – B (5 x 3 = 15 MARKS)

11.	Distinguish between Direct Digital control and Supervisory control system.

12.	Give short notes on input output modules.

13.	Explain about trouble shooting and maintenance of PLC.

14.	Brief about evolution of DCS.

15.	Write short notes on configuration of DCS.

PART – C (5 x 15 = 75 MARKS)

16. 	Explain about Composite controller modes in detail.

(OR)

17.	Explain the hardware components and working of direct digital control with an example.

18.	Explain different types of timer with suitable examples.

(OR)

19.	Draw PLC Ladder program to perform the following sequence of operation for an elevator system.

a.	When the START button is button is pressed, the platform is driven to the down position.

b.	When the STOP button is pressed, the platform is halted at whatever position it occupies at 	that time.

c.	When UP button is button is pressed, the platform if it is not in DOWN motion is driven to the UP position.

d.	When DOWN button is button is pressed, the platform if it is not in UP motion is driven to the DOWN position.

Use NC limit switches for sensing the position, Motor for UP and DOWN motion and Four NO push buttons for STRAT,STOP,UP and DOWN.

[P.T.O]

20.	Draw PLC Ladder program for sequentially energizing solenoids A, B, C and D after every 5-second increment. Use data manipulation instruction.

(OR)

21.	Write short notes on the following with suitable example.

a.	Sequencer	b.	PLC-PID	c.	Counter

22.	Explain the architecture of Distributed control system in detail.

(OR)

23.	Explain about Field control unit with a neat sketch.

24.	Explain the communication used in DCS.

(OR)

25.	Explain the application of DCS in steel and cement industries.