Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	INTELLIGENT BUILDINGS							       Time: 3 hours

Subject Code:	10CE202	       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	What is BSA?

2.	What is IS0 14000?

3.	What is positive ventilation?

4.	Define the luminous intensity.

5.	What is fire tower?

6.	List the significant toxic gases that are produced during fire.

7.	What is PIR?

8.	What is structural health monitoring?

9.	What are the two main components of satellite communication?

10.	What is an optical fibre?

PART – B (5 x 3 = 15 MARKS)

11.	What is intelligent building?

12.	How flux is determined?

13.	How can fire detection be done in various forms?

14.	What is C band?

15.	What is satellite dish?

PART – C (5 x 15 = 75 MARKS)

16.	Explain how BAS functionally reduces building energy maintenance cost of a building.

(OR)

17.	Write in detail about the smart structures and materials in civil engineering.

18.	Discuss in detail the classification of air conditioning system.

(OR)

19.	Explain in detail the artificial light sources with diagram.

20.	Write in detail about the safety regulations for fire as per National building code.

(OR)

21.	With the help of neat diagram explain the arrangement for providing combine fire fighting and domestic water storage tank.

22.	Explain in detail the Interior sensor technologies classification.

(OR)

23.	Write in detail about SHM components.

24.	Write in detail the various uses of satellite communications.

(OR)

25.	Explain the basic block diagram for fiber optic system and explain the modes of propagation.