Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	WATER SUPPLY AND SANITARY ENGINEERING		       Time: 3 hours

Subject Code:	CE279		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	Define Per Capita demand.

2.	What is meant by design period?

3.	Define Specific yield.

4.	What is meant by Water softening?

5.	The water from an elevated reservoir is supplied to the community by_________ system.

6.	What is the use of a hydrant?

7.	Define Sullage.

8.	What is meant by COD?

9.	The level of dissolved oxygen in septic water is very ________.

10.	What is meant by Biomass?

PART – B (5 x 3 = 15 MARKS)

11.	What do you understand by continuous and intermittent system of water supply?

12.	Write short notes on Infilltration galleries.

13.	What are the requirements of a good distribution system?

14.	Explain the two general methods adopted for sewage disposal.

15.	Distinguish between Aerobic and Anaearobic process.

PART – C (5 x 15 = 75 MARKS)

16.	Explain briefly the various factors governing the selection of a particular source of water.

(OR)

17.	Discuss the following:

a.	Intermittent supply versus continuous supply.                                             			(5)

b.	Single supply versus dual supply.                                                                			(5)

c.	Metered supply versus Non-metered supply.                                              			(5)

18.	Enumerate and discuss briefly the various methods, which are adopted for treating public water supply from a perennial stream.

(OR)

19.	Distinguish between slow sand and rapid sand filter with neat sketch.

20.	Illustrate with sketches the different types of layout of pipe system in distributing water and Compare their merits and demerits.

(OR)

21.	Write notes on the wastage of water in public water supplies. State the various methods of detection and prevention of wastage.

[P.T.O]

22.	Differentiate between:

a.	Domestic sewage and Industrial sewage.                                                   			(5)

b.	Combined system and Separate system of sewage.                                   			(5)

c.	Sewage and Drainage.                                                                               				(5)

(OR)

23.	What is Sewage farming? What are its advantages over the method of disposal of sewage by dilution?

24.	Write notes on the following:

a.	Oxidation ponds		b.	Imhoff tank		c.	Septic tank 						(3x5)

(OR)

25.	Differentiate between Aerobic and Anaerobic treatment of sewage, giving major end products. Name one treatment method in each category.