Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	POWER ELECTRONICS								       Time: 3 hours

Subject Code:	EE254		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	Define holding current of an SCR.

2.	Power BJT is a _________controlled device.

3.	Define delay angle.

4.	When do you need freewheeling diode?

5.	Another name of the variable frequency system is _________.

6.	Why are Power MOSFETs preferred for D.C. Choppers?

7.	A VSI is the one in which dc source has_________ impedance.

8.	What is an AC Voltage Controller?

9.	Which power converter can be used for the four-quadrant operation of DC motor?

10.	What is need for Zero Crossing Detector in a control circuit?

PART – B (5 x 3 = 15 MARKS)

11.	Compare Power BJT and MOSFET.

12.	Discuss the difference between single phase full and semi converter.

13.	List out the applications of Cycloconverter.

14.	Define PWM control of inverter and mention its advantages.

15.	Write briefly about types of HVDC links.

PART – C (5 x 15 = 75 MARKS)

16.	With a neat sketch explain the steady state and switching characteristics of the following power semiconductor devices:  	a.	Power Diode		b.	Power MOSFET					(6+9)

(OR)

17.	a.	Draw the characteristics of TRIAC and mark the various regions of operation. 		(5)

b.	Discuss the static and switching operation of Thyristor.							(10)

18.	Draw and explain the operation of single-phase full converter bridge rectifier with RLE load with necessary waveforms. Also, derive the average and RMS output voltage of the rectifier.

(OR)

19.	What is a dual converter? With neat circuit, necessary equations and waveforms explain the operation of three-phase dual converter in circulating current mode.

20.	Describe the operation of the single-phase ac to ac full wave voltage controller for a resistive (R) load with necessary circuits and waveforms. Derive the expression for the RMS load voltage and RMS load current.

(OR)

21.	a.	Discuss the operation of a four-quadrant chopper with neat diagrams. 				(7)

b.	For a type- A chopper dc source voltage is 230V, load resistance is 10Ω. Take a voltage drop of 2 Volt across the chopper when it is ON. For a duty cycle of 0.4, Calculate the chopper efficiency and average and RMS value of output voltage.					(8)

[P.T.O]

22.	Explain the operation of three-phase inverter in 180 mode conduction with necessary circuit diagram, waveforms.

(OR)

23.	a.	Draw and explain the circuit diagrams of basic series inverter and modified series inverter.																					(8)

b.	Discuss about harmonic reduction by Stepped-wave Inverters.						(7)

24.	Explain the operation of any one gating signal generation circuit for single-phase full wave controlled rectifier with firing angle control. Draw the necessary waveforms.

(OR)

25.	Draw the block diagram of various types of UPS and explain the functions of each block in them.