Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	VIRTUAL INSTRUMENTATION						       Time: 3 hours

Subject Code:	EE270		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	DAQ stands for ________.

2.	Expand VI.

3.	Define windowing.

4.	Give any one application in power spectrum.

5.	Clusters are collection of ________data type.

6.	Define I/O files in LabVIEW.

7.	The program execution can be controlled with ________.

8.	All coding in LabVIEW is done in ________.

9.	LabVIEW programs are stored in extension of________.

10.	________ Palette is used in Front panel.

PART – B (5 x 3 = 15 MARKS)

11.	Explain shift register in loops.

12.	Define clusters.

13.	Differentiate LabVIEW with conventional programming languages.

14.	Explain graphical programming in data flow.

15.	Discuss counters.

PART – C (5 x 15 = 75 MARKS)

16. 	Draw the block diagram and architecture of a virtual instrument and explain in detail.

(OR)

17.	Explain graphical programming in data flow.

18.	a.	Explain the difference between For and While loops. 								(8)

b.	Write a program in VI to find the factorial a number ‘5’ using both for and while.	(7)

(OR)

19.	a.	Explain the difference between arrays and clusters.			      					(8)

b.	Write a VI to simulate the draining of a tank whose maximum level is 1000 liters.  Drain 	up to a 400 liters using for loop for an interval of 250 ms.	       						(7)

20.	Explain data acquisition process in LabVIEW.

(OR)

21.	Give the procedure for software and hardware installation.

22.	Explain the Various interfacing buses in details with necessary diagram.

(OR)

23.	Differentiate RS 232C and RS485 with necessary diagram.

[P.T.O]

24.	With relevant block diagrams explain the VI applications in Digital millimeter using LabVIEW.

(OR)

25.	Explain the need of analytical tools like power spectrum in VI.