Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	DIGITAL CONTROL SYSTEMS						       Time: 3 hours

Subject Code:	EI214		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	If sampling frequency is less than twice the maximum frequency what will happen?

2.	Name any two methods of A/D conversion.

3.	What is ramp input in discrete system?

4.	Obtain Z-transform of unit step sequence.

5.	Give the condition for the system to be completely observable.

6.	Asymptotic stability always implies ________ stability.

7.	What is dimension of each Jordan block?

8.	Name the two types of quantizations.

9.	Give the general block of digital control.

10.	What is software used for simulation?

PART – B (5 x 3 = 15 MARKS)

11.	What is sample and hold?

12.	Define pulse transfer function.

13.	What are eigen values of a matrix?

14.	When are poles called ringing poles?

15.	What is the pull in range of the stepper motor?

PART – C (5 x 15 = 75 MARKS)

16.	a.	Explain the need for sample data control systems.     								(8)

b.	State and Prove sampling theorem.           										(7)

(OR)

17.	Explain in detail the zero order hold and the first order hold.

18.	For the function H(s)=2s2+3s+2, determine H(z) using bilinear transformation if a) T = 1 second, b) T=0.1 second.

(OR)

19.	Explain the concept of Jury’s stability criterion in detail.

20.	Realize the given transfer function in first companion form, second companion form and Jordan canonical form.   Y(s)X(s)=s+3s3+9s2+24s+20.

(OR)

21.	Explain the theoretical aspects in conversion of transfer functions to Canonical state variable models.

[P.T.O]

22.	a.	Explain the tuning rules for digital controllers.

b.	Explain non-interacting Position PID algorithm in detail.

(OR)

23.	Explain Kalman’s algorithm in detail.

24.	Explain digital Temperature Control System in detail.

(OR)

25.	Explain any of the control algorithm used microprocessor based position control system.