Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	INSTRUMENTATION AND CONTROL IN PETROCHEMICAL

INDUSTRIES											       Time: 3 hours

Subject Code:	EI225		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	_______ is the separation of a mixture into its component parts, or fractions, such as in separating chemical compounds by their boiling point by heating them to a temperature at which several fractions of the compound will vaporize.

2.	To provide vapour in the stripping section of the column for vapour liquid contact _______ is used.

3.	Mention few important controls in a reactor.

4.	List out few continuous dryers.

5.	A _______ exchanges heat between two streams, heating   one and cooling the other.

6.	Mention few of the important control in heat exchanger.

7.	A _______ type evaporator is common in the sugar industry for concentrating cane sugar juice.

8.	What is the need for measurement of density?

9.	In the United States, the operations of all water treatment plants are directed by the _______ Federal Water Pollution Act.

10.	_______ control of wastewater is difficult because their acid or base contents can vary by several decades and because as the type or amount of buffering of acid (or base) varies, it changes the applicable pH curve.

PART – B (5 x 3 = 15 MARKS)

11.	Define degrees of freedom.

12.	Differentiate batch dryers and continuous dryers.

13.	What is the need of heat exchanger in petrochemical industry?

14.	List out the different types of evaporators.

15.	What is meant by neutralization in water treatment control?

PART – C (5 x 15 = 75 MARKS)

16.	Discuss the basic scheme of distillation column.

(OR)

17.	How will you control the reflux rate in distillation column?

18.	Establish the control schemes for the following parameters in chemical reactors.

a.	Reactor temperature		b.	Reactor pressure

(OR)

19.	Describe the different dryers control schemes.

20.	Discuss the Liquid–Liquid heat exchanger control.

(OR)

21.	Explain the cascade and feed forward control in heat exchanger.

[P.T.O]

22.	Mention few types of evaporator and explain any one in detail.

(OR)

23.	Discuss the measurement and control of density in petroleum industry.

24.	Write short notes on the following:

a.	Chemical Oxidation		b.	Chemical Reduction

(OR)

25.	Name few industrial wastewater treatment processes and explain the Neutralization process and biological control.