Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	PROCESS DYNAMICS AND CONTROL				       Time: 3 hours

Subject Code:	EI246		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	What is the need for process control?

2.	Input variables of a process can be classified as ________.

3.	The input parameter to the controller is the ________ signal.

4.	Write the transfer function for a PI controller.

5.	Feed forward control acts as a ________.

6.	What is meant by controller tuning?

7.	What is the purpose of the final control element?

8.	Define the term cavitations.

9.	What do you mean by bottom product in a distillation column?

10.	Define the term reflux ratio.

PART – B (5 x 3 = 15 MARKS)

11.	Define self-regulation with an example.

12.	List the limitations of On-Off controller.

13.	Explain about the ¼ decay ratio method of controller tuning.

14.	Define the flow coefficient of a control valve.

15.	How do you control drum level in a steam boiler?

PART – C (5 x 15 = 75 MARKS)

16. 	Derive the mathematical model of a liquid level system.

(OR)

17.	Derive the transfer function of interacting and non-interacting systems.

18.	Explain in detail about the P, P+I and P+I+D control modes.

(OR)

19.	Write short notes on:		a.	Integral wind up		b.	Auto manual transfer 			(8+7)

20.	Discuss in detail about the Ziegler-Nichols’s tuning method.

(OR)

21.	Explain in detail about the following

a.	Ratio control		b.	Cascade Control											(7+8)

22.	Explain in detail about

a.	Characteristics of Control Valve		b.	Butterfly Valve and ball Valve			(8+7)

(OR)

23.	Explain in detail about Control valve sizing.

24.	Describe the working of distillation column with appropriate sketches.

(OR)

25.	Explain the various control schemes for controlling exit temperature of fluid in heat Exchangers.