Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	BIOMEDICAL INSTRUMENTATION					       Time: 3 hours

Subject Code:	EI252		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	The nerve cell with its dendrites and fiber is called________.

2.	ERG stands for________.

3.	Plethysmography is used to measure ________.

4.	Radionuclide method for evaluating ________.

5.	A device, which is used to produce fine spray of water or medication________.

6.	What is diapulse shortwave diathermy?

7.	Alkaline solution pH value is ________.

8.	Line isolation transformer is used for________.

9.	The accepted standard for proton and carbon NMR is ________.

10.	X-ray generation efficiency is ________.

PART – B (5 x 3 = 15 MARKS)

11.	What are bioelectric potentials?

12.	What is Doppler Effect?

13.	What is blending?

14.	Mention the purpose of spectrometer.

15.	Draw the block diagram of a biotelemetry system.

PART – C (5 x 15 = 75 MARKS)

16. 	Explain:

a.	Different types of heart sound in detail. 											(8)

b.	phonocardiograph preamplifier with a neat diagram.								(7)

(OR)

17.	Write short notes on:

a.	Respiratory system		b.	Central Nervous system.						     (5+10)

18.	a.	Explain blood flow measurement by transit time difference.		              			(8)

b.	Explain Fick’s method of cardiac output measurement in detail.					(7)

(OR)

19.	a.	Explain paramagnetic oxygen analyser in detail.									(8)

b.	Explain fingertip oximeter.													(7)

20.	a.	Explain Anesthesia machine in detail.											(8)

b.	Give the difference between external pacemaker and implanted pacemeter.			(7)

(OR)

21.	a.	Explain the model of the heart lung machine.									(8)

b.	Explain different types of defibrillators in detail.									(7)

[P.T.O]

22.	Explain flame photometer in detail.

(OR)

23.	a.	Explain the technique of chromatography in detail.								(8)

b.	Explain digital pH meter with a neat sketch										(7)

24.	a.	With a neat sketch, explain Computer Tomography scanner in detail.				(8)

b.	Explain the MRI system with a block diagram.									(7)

(OR)

25.	a.	Explain X ray machine with a block diagram.									(8)

b.	Explain multiple channel telemetry system in detail.								(7)