Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	INDUSTRIAL INSTRUMENTATION					       Time: 3 hours

Subject Code:	EI256		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	The device used to measure pressure is ________.

2.	The output of differential pressure transmitter ________ mA.

3.	In electromagnetic flow meter the section of pipe where electrodes are placed is made of ________ material.

4.	Installing an orifice plate in flow line introduces pressure drop. State true or false.

5.	The material combination of type K thermocouple is ________and ________.

6.	PT 100 is a ________ transducer.

7.	________ type is used as level indicator in domestic applications for open tanks.

8.	Hydrastep is used commonly in ________.

9.	Mention the field bus standard for process industry.

10.	HART stands for ________.

PART – B (5 x 3 = 15 MARKS)

11.	How is U tube manometer used for measuring differential pressure?

12.	List the five advantages of electromagnetic flow meter.

13.	Develop a measuring circuit for Resistance thermometer three lead connections.

14.	How pressure gauges do employed in level measurements?

15.	List any four intelligent features of smart devices.

PART – C (5 x 15 = 75 MARKS)

16.	a.	Illustrate the function of dead weight tester with a neat sketch.						(10)

b.	Mention the procedure of calibrating the pressure gauge.							(5)

(OR)

17.	a.	Explain the electrical type pressure indicator using strain gauge.					(12)

b.	List the merits of strain gauge.													(3)

18.	Write notes on principle, construction and operation of rotameter.

(OR)

19.	a.	Discuss the two modes of operation of ultrasonic flow meter.						(6+6)

b.	List any three of its advantages.												(3)

20.	Write details on (a) Need for Cold junction compensation. (b) Seebeck effect (c) Bridge type thermocouple compensation circuit.												   (4+3+8)

(OR)

21.	Elaborate the temperature measurement of hot body using (a) Optical pyrometer (b) Radiation pyrometer.																		(8+7)

[P.T.O]

22.	a.	Describe the measurement of level using type differential pressure cell.  			(12)

b.	Mention the analytical expression between differential pressure, capacitance, and output voltage with tank level.														(3)

(OR)

23.	Explain the resistive and capacitive type level measurements with neat sketch.

24.	a.	Sketch the block diagram and discuss the operation of smart transmitter.			(10)

b.	Explain special features of smart devices compared with conventional transmitters.	(5)

(OR)

25.	Discuss the block diagram of Computer based process control system.