Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – June 2012

Subject Title:	ELECTRONIC INSTRUMENTATION					       Time: 3 hours

Subject Code:	EI261		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	The addition of a ________ converts the basic d’arsonval movement into a dc voltmeter.

2.	A ________ is an instrument designed to measure the relative amplitudes of single frequency components in a complex or distorted waveform.

3.	Due to the sharp cutoff frequency of the lumped parameter delay line, ________ and ________ become a problem when the frequency of the input signal increases.

4.	Expand CRT.

5.	________ is a widely used type of ADC.

6.	A widely used system for ac/dc conversion is ________.

7.	The heart of frequency counters is ________.

8.	The main disadvantage with multiple period measurements is that ________.

9.	________ is often convenient to plot the instantaneous relationship between two variables.

10.	The basic function of ________is to automatically make a record of the readings of instruments located at different parts of the plant.

PART – B (5 x 3 = 15 MARKS)

11.	Draw the block diagram of general-purpose spectrum analyzer.

12.	Write a note on grounding techniques.

13.	What are the requirements of ADCs in voltmeters and multimeters.

14.	State the principle behind phase difference measurement.

15.	List the advantages and disadvantages of digital data recording.

PART – C (5 x 15 = 75 MARKS)

16.	Describe the operation of vector impedance meter with the help of a block diagram. Explain the function of each block. Describe how phase angle measurements are carried out with it.

(OR)

17.	Explain with the help of a block diagram, the working of a harmonic distortion analyzer.

18.	Draw the block diagram of a general purpose CRO and explain the function of intensity and focusing.

(OR)

19.	Describe in detail the operation of sampling oscilloscope.

20.	Sketch the basic block diagram for a DSO. Sketch the system waveform and explain its operation.

(OR)

21.	What is meant by digital voltmeter? Explain the basic principle of ramp type and dual slope type digital voltmeter with neat sketches.

[P.T.O]

22.	Explain in detail about the digital method of measuring displacement.

(OR)

23.	Write short notes on:

a.	Frequency to ratio measurements		b.	Period measurements				     (5+10)

24.	a.	Give the constructional features of UV recorders and state its applications.			(8)

b.	What are the basic components of a magnetic recorder? Explain its operation.		(7)

(OR)

25.	Write short notes on:

a.	Seven segment display		b.	Dot matrix display							(8+7)